## Import
№ | Q-ty / - Кол - во | PN (Парт Номер) | ItemLongName
1 | 2 | 104TX | SWITCH, DCS, FOXBORO, UNMANAGED 4 PORT 10/100BASE, DIN-RAIL, ETHERNET, #104TX
2 | 4 | RH914SQ | MODULE,FBM201, ISOLATED 8 INPUT,0-20 MA
3 | 4 | RH924YA | CONTROL PROCESSOR FCP280
4 | 2 | P0924SM | MODULE, POWER SUPPLY, FPS 240-24
6 | 2 | P0972SE | MOUSE TRACKBALL, WORKSTATION
7 | 4 | RH928AD | CABLE, TYPE1 TERM. 3 METER. (FOR FBM 201,204, 237).
8 | 2 | RH926HT | BASEPLATE, HORIZONTAL, FCM/FBM 8-SLOTS P0926HT
9 | 2 | RH926KE | BASEPLATE, HORIZONTAL, FCM/FBM 2-SLOTS RH926KE
10 | 4 | RH924WA | ADAPTER NETWORK, FIBER FCP280
11 | 2 | RH924YL | BASEPLATE, HORIZONTAL FCP280