| № | Required parameters for goods, works, services to be purchased (subject of the purchase) | Specific requirements for goods, work, and services |
| --- | --- | --- |
| 1 | Name/type/quantity/volumes/measure unit | OWON HDS320S 200 MHz digital oscilloscope, generator, and multimeter (standalone, portable, dual channel) or equivalent. Quantity: 3 units. Stock number: 00.01.646. - Three-in-one: oscilloscope, generator, and multimeter. - Oscilloscope: Bandwidth: 200 MHz. - Number of channels: 2 analog channels. - Real-time sampling rate: 1 GSa/s. Record length: 8K (single-channel mode), 4K (dual-channel mode). - Signal update rate: 10,000 frames/sec. - Multimeter: Measurement of voltage, current, resistance, capacitance, continuity testing, diode testing. - Signal generator: Built-in signal generator (available in some HDS320S versions). - Display and power: Display: 3.5-inch color LCD, resolution 320 × 240. - Power supply: 2 x 2,600 mAh lithium-ion batteries (3.7 V, 18650 type). - Interface: USB Type-C. - Features: Portable design, light weight. - Menu available in Russian language. |
| 2 | Delivery location | 24/1 Ibraimov st., Bishkek, (Kumtor Mine). |
| 3 | Delivery deadline | 3-4 weeks |
| 4 | Procedure (sequence, stages) of work | 1. Confirmation of hardware configuration. 2. Delivery of equipment. 3. Verification of compliance of the delivery with the Terms of Reference. 4. Acceptance by acceptance certificate. 5. Transfer of warranty and technical documents. |
| 5 | Requirements for goods, services and works to be delivered | • The equipment shall be new and not used. • Availability of a certificate of conformity, authorization letter from the manufacturer or distributor. |
| 6 | Completion and acceptance procedure | • The equipment shall be accepted based on the acceptance certificate. • Signing of the acceptance certificate after verification of technical specifications and compliance with the stated parameters. |
| 7 | Requirements for the submission of technical and related documentation to the Client upon completion of the work | • Submission of the work completion certificate. • User manuals (in Russian or English). • Certificates, warranty cards (if required). |
| 8 | Warranty obligations | Warranty: at least 12 months from the delivery date. During the warranty period, the Supplier shall eliminate defects at its own expense, including equipment replacement. |