## Import
Line | ItemCode | ItemName | Part # | Unit | Qty
1 | 45.06.000 | PUMP, ELBESTR 39, MODEL P41/58-110 D BARESHAFT PUMPFLOW 39.6 L/MIN, PRESSURE 80 BAR, POWER 6.3 KW, RPM 750 RPM, FOR HORIZONTAL STEAM GENERATOR CIL 1500, OEM# 00.3733 | 00.3733 | EA | 1
2 | 45.06.009 | SERVOMOTOR CONTROLS THE FUEL VALVE OF THE BURNER OF THE STEAM GENERATOR 4000/5000 | 0005040166 | EA | 1
3 | 45.06.010 | SERVOMOTOR AIR THE SERVO IS USED IN THE CONTROL AND SAFETY SYSTEMS OF THE HEATING SYSTEM OF THE 4000/5000 STEAM GENERATOR BURNER | 0005040167 | EA | 1
4 | 45.06.011 | CABINET BURNER CONTROL FOR STEAM GENERATOR BURNERS 4000/5000 | 0033020082 | EA | 1
5 | 45.06.013 | PANEL CONTROL FOR STEAM GENERATOR BURNE #OEM 0005030266 4000/5000 | 0005030266 | EA | 1
6 | 45.06.014 | SWITCH PRESSUREFOR STEAM GENERATOR BURNER4000/5000 #OEM 23012 | 23012 | EA | 1
7 | 45.06.016 | BOARD STEAM GENERATOR WATER TREATMENT SYSTEM VALVE CONTROL #OEM DGH10201-1023R04 STEAM GENERATOR BURNER 4000/5000 | DGH10201-1023R04 | EA | 1
8 | 45.06.017 | ACTUATOR ELECTROMECHANICAL VALVE CONTROL MODEL HFT-V50/ 220V AC/10W STEAM GENERATOR BURNER 4000/5000 | HFT-V50 | EA | 2
9 | 45.06.045 | ADAPTER REPLACEMENT 15 V., FOR STEAM GENERATOR WATER TREATMENT SYSTEM, OEM# 1-CLK-YED-V3186EU-06 | 1-CLK-YED-V3186EU-06 | EA | 1
10 | 45.06.046 | BOARD EI (4 BUTTONS), FOR STEAM GENERATOR WATER TREATMENT SYSTEM, OEM# 1-CLK-YED-V3408EI-04 | 1-CLK-YED-V3408EI-04 | EA | 2
11 | 45.06.047 | FITTING WS15P ASSEMBLY QC TO BSPT, FOR STEAM GENERATOR WATER TREATMENT SYSTEM, OEM# 1-CLK-YED-V4430-02 | 1-CLK-YED-V4430-02 | EA | 2
12 | 45.06.048 | FITTING WS15P ASSEMBLY QC TO QC, FOR STEAM GENERATOR WATER TREATMENT SYSTEM, OEM# 1-CLK-YED-V4430-03 | 1-CLK-YED-V4430-03 | EA | 2
13 | 45.06.049 | FITTING EXHAUST 1''1/2 – CODE V3080BSPT, FOR STEAM GENERATOR WATER TREATMENT SYSTEM, OEM# 1-CLK-YED-V3080BSPT | 1-CLK-YED-V3080BSPT | EA | 1
14 | 45.06.050 | GENERATOR CLACK VP15 DUAL-CIRCUIT 1 1/2", FOR STEAM GENERATOR WATER TREATMENT SYSTEM, OEM# 1-CLK-YED-V3034 | 1-CLK-YED-V3034 | EA | 1
15 | 45.06.051 | COUNTER 1" 1/2 MF CABLE L. 4.5 METRES FOR WS1.5CI, FOR STEAM GENERATOR WATER TREATMENT SYSTEM, OEM# 1-CLK-YED-V3040BSPT-15 | 1-CLK-YED-V3040BSPT-15 | EA | 1
16 | 45.06.053 | VALVE VACUUME BREAKER 1.5", FOR STEAM GENERATOR WATER TREATMENT SYSTEM, OEM# 1-91-08-2 | 1-91-08-2 | EA | 2
17 | 45.06.054 | VALVE SOFTENER , CLACK WP15 EI (P), FOR STEAM GENERATOR WATER TREATMENT SYSTEM, OEM# 1-CLK-VP15EIDTG-05 | 1-CLK-VP15EIDTG-05 | EA | 1
18 | 45.06.055 | VALVE 3/4" AIR CHECK (KIT) (H9908), FOR STEAM GENERATOR WATER TREATMENT SYSTEM, OEM# 1-91-06-H9908 | 1-91-06-H9908 | EA | 2
19 | 45.06.056 | WRENCH, CLACK VALVE, V3193-02, FOR STEAM GENERATOR WATER TREATMENT SYSTEM, OEM# 1-CLK-YED-V3193-02 | 1-CLK-YED-V3193-02 | EA | 2