## Lot 1
PurchEnqLine | PurchEnqQty | PurchEnqItemCode | PurchEnqUnit | ItemLongName | SuppItemCode
1 | 1 | 00.03.268 | SET | VOLT-AMPERE-PHASE METER MODEL RETOMETR-M3 FOR MILL ELT | РЕТОМЕТР-М3

## Lot 2
PurchEnqLine | PurchEnqQty | PurchEnqItemCode | PurchEnqUnit | ItemLongName | SuppItemCode
1 | 2 | 00.01.210 | EA | BURNER FOR THE IGNITION SYSTEM OF FINE COAL PARTICLES, OEM# U3VTUS | Ü3VTUS

## Lot 3
PurchEnqLine | PurchEnqQty | PurchEnqItemCode | PurchEnqUnit | ItemLongName | SuppItemCode
1 | 1 | 00.03.287 | EA | SWITCH, MANAGED MODICON ETHERNET SWITCH BY SCHNEIDER ELECTRIC WITH 16 X 10/100 RJ45 PORTS AND 4 X 1GB SFP PORTS | MCSESM203F4LG0
2 | 4 | 00.03.288 | EA | MODULE, MODICON SFP OPTICAL MODULE FOR 10/100BASE‑SX ETHERNET, LC CONNECTOR, MULTIMODE FIBER (MM), OEM #SFP 10/100BASE-SX/LC MM | SFP 10/100BASE-SX/LC MM
3 | 4 | 00.03.289 | EA | CABLE, MULTIMODE FIBER OPTIC PATCH CORD WITH LC‑LC CONNECTORS, 0.5 M LENGTH., OEM# LC-LC | LC-LC 0.5 M
4 | 4 | 00.03.290 | EA | PATCH, SINGLE‑MODE FIBER OPTIC PATCH CORD (SM, OS1) WITH 9/125 ΜM FIBER, SC‑LC CONNECTORS., OEM# SC-LC | SC-LC 9/125 ΜM
5 | 1 | 02.00.079 | EA | BLOCK, CONTACT | TA16 ZB2BZ105
6 | 2 | 02.03.011 | EA | CONTACT, OF A CONDITION OF IOF | A9A26929
7 | 2 | 50.02.393 | EA | MODULE, POWER SUPPLY, REF: 21H-2W3B4, 24VDC, 6 OUTPUT (SERIES I/A), INPUT 100-240VAC 50-60 HZ | FPS400-24
8 | 2 | 50.05.042 | EA | MODULE, 32 DI - GROUP ISOLATED. FBM217 | RH914TR (31H-2S217)
9 | 3 | 50.05.047 | EA | MODULE, 16 DI, 16 DO CHANNELS - GROUP ISOLATED. FBM239. | RH927AG (31H-2S239)
10 | 2 | 70.02.070 | EA | TIMER, ON-DELAY TYPE LADTO TELEMECANIQUE | 52297587

## Lot 4
PurchEnqLine | PurchEnqQty | PurchEnqItemCode | PurchEnqUnit | ItemLongName | SuppItemCode
1 | 1 | 00.03.298 | EA | HEATER, INDUCTION HEATER BETEX MF-GENERATOR 3.1 - 22KW 33122400, WITH 3-PHASE 50 HZ 380 V POWER SUPPLY OPTION AND SIGNAL TOWER, OEM# 33122400 | 33122400
2 | 1 | 00.03.299 | EA | INDUCTOR, FLEXIBLE INDUCTOR: 22KW, 180°C, LENGTH 15M, DIAMETER 15MM, OEM# FI22-15-180C-D15 | FI22-15-180C-D15
3 | 1 | 00.03.300 | EA | INDUCTOR, FLEXIBLE INDUCTOR: 22KW, 300°C, LENGTH 30M, DIAMETER 20MM, OEM# FI22-30-300C-D20 | FI22-30-300C-D20
4 | 1 | 00.03.301 | EA | HEATER, INDUCTION HEATER BETEX IDUCTOR 2, 231301, OEM# 231301 | 231301
5 | 1 | 00.03.302 | EA | INDUCTOR, FLEXIBLE INDUCTOR: №231217, LENGTH 2.5 M, OEM# 231217 | 231217
6 | 1 | 00.03.303 | EA | HEATER SET, INDUCTION HEATER SET: IDUCTOR 2 SET, 231304, OEM# 231304 | 231304

## Lot 5
PurchEnqLine | PurchEnqQty | PurchEnqItemCode | PurchEnqUnit | ItemLongName | SuppItemCode
1 | 4 | 01.02.039 | EA | SEAL, COMPL MECHANICAL, ISC2-PX35MM 5Z4T, FLOWSERVE | 109081
2 | 2 | 25.00.080 | EA | SYSTEM, CONTROL , 10-30 VDC INPUT 32 PTS (36 PIN) | 1756-IB32
3 | 1 | 25.00.095 | EA | VALVE, SOLENOID VALVE ASCO SC G551A005 MS; 1/4" BSPPORT, 6 MM, PMAX 10 BAR, 24V DC, 3 W, 3/2-WAY; FOR SAG MILL, BALL MILL, AND REGRIND MILL APPLICATIONS., OEM# G551A005 | G551A005
4 | 1 | 45.02.681 | RL | FILTER, POLYURETHANE FOAM FILTER MATERIAL, 25 MM THICKNESS, OEM# PUF-25MM-FM | PUF-25MM-FM
5 | 15 | 50.01.794 | EA | FAN 120MM HEAT SINK (RECTIFIER) | FAN 120MM HEAT SINK (RECTIFIER)
6 | 15 | 50.01.795 | EA | FAN 160MM HEAT SINK (INVERTER) | FAN 160MM HEAT SINK (INVERTER)
7 | 60 | 50.02.404 | EA | BUSHING, REDUCING 3/4`TO 1/2` | CIRB6R4/52AW35
8 | 4 | 50.02.471 | EA | BRACKET SUPPORT SS VERTICAL SB-111 | SB-111
9 | 1 | 50.03.236 | EA | FLOWMETER, ELECTROMAGNETIC, 18" COMING WITH TRANSMITTER | 55S4F-SLMBNA32AAAA
10 | 1 | 50.03.244 | EA | TRANSMITTER KROHNE MAGNETIC FLOW - MEETGEVER OPTIFLUX 2000 - 18" ASME B 16.5 150 LB RF - HARD RUBBER, OEM#OPTIFLUX 2300 W KA-EAC - MEETGEVER OPTIFLUX 2000 | OPTIFLUX 2300 W KA-EAC - Meetgever OPTIFLUX 2000-18"
11 | 2 | 50.03.339 | EA | POWER SUPPLY DELL L1100E‑S1 (P/N PS‑2112‑13D‑LF, DP/N 0CMPGM) RATED AT 1100 W WITH INPUT 100–240 V AC 50/60 HZ, OUTPUT +12.2 V 90.16 A AND +12VSB 3.0 A, 80 PLUS DESIGNED TO POWER A CANARY HISTORY SERVER | PS‑2112‑13D‑LF
12 | 1 | 50.09.038 | EA | TRANSMITTER, POSITION FOR SPARE PARTS OLTC MILL MAIN TRANSFORMER, ITEM , OEM#5475124-AR (POSITION TRANSMITTER) | 5475124-AR (POSITION TRANSMITTER)
13 | 1 | 50.09.039 | EA | CONTINUATION CONTACT, FOR SPARE PARTS OLTC MILL MAIN TRANSFORMER, ITEM , OEM# 5475124-AR (CONTINUATION CONTACT) | 5475124-AR (CONTINUATION CONTACT)
14 | 1 | 50.09.040 | EA | GENEVA WHEEL, FOR SPARE PARTS OLTC MILL MAIN TRANSFORMER, ITEM , OEM#2185940-1 | 2185940-1
15 | 50 | 99.20.069 | EA | BLOCK, TERMINAL , 2- CONDUCTOR | 222-412
16 | 50 | 50.15.079 | EA | TRAY, CABLE PLASTIC 25X40, 2 METER LONG | 408-15040
17 | 12 | 50.15.686 | EA | ELEMENT, HEATING (TEN) SUS304, D1.2’’L=230MM, 380V, 4.5KW | SUS304
18 | 2 | 90.56.005 | EA | SWITCH 4, P/B ACTUATOR GRN P-P, 46611, ASSY, SAMSTAT-30 CTRLR W/ DUMP & 47094 SPARES, EXPANDED SAM-30 SUP, FOR FINAL TAIL SAMPLER SAMSTAT-30 1600X608, OEM# 75356 | 75356
19 | 2 | 90.56.007 | EA | CONTROL TRANSFORMER MP ASSY 2, 47094 SPARES, EXPANDED SAM-30 SUP, FOR FINAL TAIL SAMPLER SAMSTAT-30 1600X638, OEM# 77337 | 77337
20 | 2 | 90.56.010 | EA | BOARD CONTROL EN SAMP STAT #OEM REV 37940 | REV 37940
21 | 1 | 90.56.019 | EA | EASY, PROC 24VDC 12I 4AI 8TO, 47094 SPARES, EXPANDED SAM-30 SUP, FOR FINAL TAIL SAMPLER SAMSTAT-30 1600X605, OEM# 77369 | 77369

## Lot 6
PurchEnqLine | PurchEnqQty | PurchEnqItemCode | PurchEnqUnit | ItemLongName | SuppItemCode
1 | 338 | 15.00.067 | MT | CABLE, HEATING, SELF -REGULATING , 230V, 25 W/NAT 10°C, 8BTV2-CT | 8BTV2-CT
2 | 2000 | 15.00.070 | MT | CABLE, XPI-25 | 1244-000192
3 | 200 | 15.00.077 | EA | TAPE, ATE-180, ALUMINIUM ADHASIVE | 846243-000
4 | 6 | 50.15.093 | EA | BOX MODULAR JUNCTION, 6XM20, 1XM40, ATEX, 35 MM² TERMINALS, OEM# JB-EX-21/35MM2 | JB-EX-21/35MM2

## Lot 7
PurchEnqLine | PurchEnqQty | PurchEnqItemCode | PurchEnqUnit | ItemLongName | SuppItemCode
1 | 20000 | 50.01.973 | MT | CABLE, HEAT TRACE, 30ВТ/МТ (KOREAN), OEM#SRL-30-2CR-UF | SRL 30-2 CR UV
2 | 8 | 50.05.029 | EA | PATCH CORD, ORANGE, LC-LC. LENGTH 0,25MT | RH972ZQ
3 | 12 | 50.05.071 | EA | PATCH CORD, 5M, ST-SC MULTI-MODE RUGGEDIZED, PURPLE | SC/UPC-ST/UPC MM OM3 50/125 5M
4 | 10 | 50.05.072 | EA | PATCH CORD, 11M, ST-SC MULTI-MODE RUGGEDIZED, PURPLE | SC/UPC-ST/UPC MM OM3 50/125 11M
5 | 1 | 50.01.212 | AS | CABLE ASSEMBLY, SIEMENS FOR TRANSDUCER SPECTRA SYSTEM 190 FLOWMETER PIPE SIZE RANGE 0.375` TO 255` | 7ME3960-0CK01
6 | 1000 | 78.18.225 | MT | WIRE, TELEPHONE DROP | 13170-01-001

## Lot 8
PurchEnqLine | PurchEnqQty | PurchEnqItemCode | PurchEnqUnit | ItemLongName | SuppItemCode
1 | 983 | 50.01.981 | EA | PANEL, LED LIGHT, SURFACE TYPE 24W, 50-60HZ, 185 265V. SIZE 300MMX300MM, IP20, 2040 LUMEN | KE35318
2 | 14 | 50.02.639 | EA | FIXTURE LED CEILING LIGHTING, 54W, 6500K, WHITE, 220V, 1220MM X 75MM | 54W, 6500K, 1220MM X 75MM
3 | 94 | 50.02.641 | EA | LAMP CEILING,TPL-2005-50-4000, DSP-2005 50W 4000K IP66 IP66 1500MM PROXIMA LED DUSTPROOF LUMINAIRE | TPL-2005-50-4000, DSP-2005 50W 4000K IP66 IP66 1500MM
4 | 80 | 50.15.806 | EA | LIGHT, CEILING SPP-4-150-5K-P | SPP-402-0-50K-150
5 | 80 | 50.31.090 | EA | LAMP, LED, 18W, 230-240V, E27,4200-4500K, HEIGHT 12-13CM | LED-A60-18W-E27-4K
6 | 198 | 50.31.204 | EA | LAMP, LED , 15W, 6500K, E27 | 5235
7 | 293 | 50.31.208 | EA | TUBE, LED LIGHT T8, MODEL: USHC-T8-4FT-18W-ZY 1170 | USHC-T8-4FT-15W-ZT-V
8 | 84 | 50.31.064 | EA | BULB, RUSSIAN 12V-P21-5W DOUBLE CONTACT | 12V-P21-5W

## Lot 9
PurchEnqLine | PurchEnqQty | PurchEnqItemCode | PurchEnqUnit | ItemLongName | SuppItemCode
1 | 6 | 50.24.520 | EA | FUSE, FERRAZ PFZ - D300 705 630 AMP SEMICONDUCTOR PROTECTION C/W BLOWN INDICATOR WITHADD ON SWITCH CLIP | D300705
2 | 2 | 50.38.740 | EA | RECEPTACLE PANEL MOUNTED RECEPT.32A 5P6H400V.IP67 | 1551
3 | 7 | 50.39.140 | EA | VFD CHINT NVF2G‑11/TS4 VARIABLE FREQUENCY DRIVE (P/N 639015) RATED AT 11 KW, WITH 3×380 V INPUT, NOMINAL CURRENT ~25 A, OUTPUT FREQUENCY RANGE 0–400 HZ, SENSORLESS VECTOR CONTROL, OVERLOAD CAPACITY UP TO 150%, RS‑485/MODBUS COMMUNICATION, AND IP20 FOR BLOWERS CARBON FINES | NVF2G‑11/TS4
4 | 20 | 50.52.012 | EA | SWITCH, SAFETY 30A 3 POLE 600 VAC | HNFC 361R
5 | 2 | 50.52.013 | EA | SWITCH, SAFETY 60A 3 POLE 600 VAC | HNFC 362R
6 | 32 | 50.52.027 | EA | SWITCH, CIRCUIT-LOCK DISCONNECT 30 AMP, 600 VAC | HBLDS3
7 | 2 | 50.52.156 | EA | CONTROLLER, LOAD SHARING AND SPEED | 9907-018
8 | 5 | 82.00.696 | AS | SWITCH & BRACKET ASSEMBLY, NEMA 4, BIJUR DELIMON; MICRO SWITCH 15A125, 250 OR 480 VAC, 2A 600 VAC 1/8HP 125 VAC, 1/4HP 250 VAC 1/2A 125 VDC, 1/4A250 VDC, BZG1-2RN | 201134
9 | 5 | 82.04.000 | EA | FUSE, 20A, 38MM X 10MM | LIF KLK020
10 | 5 | 85.04.272 | EA | NOZZLE, FLAT FAN SPRAY NOZZLE, FLOW FACTOR 15, SPRAY ANGLE 65°, 3/8" THREAD, AISI 303 STAINLESS STEEL, EUS 3/8 MC3E‑15‑65 SS303 | MC3E‑15‑65 SS303
11 | 12 | 85.04.273 | EA | NOZZLE, FLAT FAN SPRAY NOZZLE, FLOW FACTOR 10, SPRAY ANGLE 65°, 3/8" THREAD, AISI 303 STAINLESS STEEL, EUS 3/8 MC3E‑10‑65 SS303 | MC3E‑10‑65 SS303
12 | 2 | 89.03.059 | EA | CONTACTOR, 3 POLE , 4KW, 220VAC COIL | CA7-9-10 240V50/277V60
13 | 2 | 89.03.068 | EA | THERMOMETER, RTD C/W TEMPERATURE TRANSMITTER, 0 -100C ADJUSTABLE RANGE | 411121050007 (OLD#G10423)
14 | 2 | 89.03.087 | EA | TRANSMITTER, ROSEMOUNT 2088 PRESSURE , 0-10.3 BAR, C/W REMOTE 3'' SEAL SLURRY, PART # 1199WDA95AFFW71DA00C | 2088G2S22A2S1M5B4Q4
15 | 2 | 89.03.203 | EA | BREAKER, CIRCUIT | S203-K6
16 | 2 | 89.03.214 | EA | POWER, SUPPLY INPUT 100-240 VAC , OUTPUT DC24 V/ 2.5A | 6EP1332-1SH43
17 | 2 | 50.09.037 | EA | TRANSFORMER 50KVA, 380/36 V FOR 1T HOIST #OEM FD-680 | FD-680
18 | 100 | 50.15.053 | EA | CLEANER, CONTACT CRC 312G SPRAY CAN 12 PER CASE | 47182
19 | 2 | 50.15.059 | EA | BOARD CONTROL FOR 1T HOIST #OEM XK0047 | XK0047
20 | 2 | 50.39.052 | EA | BRIDGE, RECTIFIER, DIODE 1336STG 460V 7.5-15HP | 1336-BR-SP1A
21 | 39 | 50.52.153 | EA | ADAPTER, ELECTRICAL 16 AMP 250V | 52658
22 | 2 | 50.52.377 | EA | CONTACTOR 40A, 36 VOLT COIL FOR 1T HOIST #OEM CDC6H-2511 | CDC6H-2511
23 | 24 | 50.52.380 | EA | CLAMP CONTACT НПО TO TM (ТМГ) 400 KVA (M20X2.5) COMPLETE WITH HARDWARE #OEM NF-00001650 FOR ELECTROWINNING BATH | НФ-00001650
24 | 2 | 89.06.044 | EA | SWITCH, TILT RAMSEY 10 DEGREE 220 VAC 50 HZ | 21-39-25

## Lot 10
PurchEnqLine | PurchEnqQty | PurchEnqItemCode | PurchEnqUnit | ItemLongName | SuppItemCode
1 | 8 | 60.04.778 | AS | BLOWER, MODEL DSSR 125L, CAPACITY 11 M³/MIN, PRESSURE 19.6 KPA, 1200 RPM; EQUIPPED WITH AN ELECTRIC MOTOR, MODEL YE2-160M-4, 11 KW, 380 V, CURRENT 22.7 A, 1460 RPM; SUPPLIED WITH A CYLINDRICAL-TYPE INLET AIR FILTER., OEM# DSSR 125L-190828 | DSSR 125L-190828

## Lot 11
PurchEnqLine | PurchEnqQty | PurchEnqItemCode | PurchEnqUnit | ItemLongName | SuppItemCode
1 | 2 | 90.55.654 | EA | BASE, SPM INSTRUMENT TRX54 MAGNETIC MOUNTING BASE, M8, THREE-RAIL, 22 LBS. PULL, FOR , OEM# TRX54-SPM | TRX54-SPM
2 | 20 | 90.55.655 | EA | ADAPTER, SPM ADAPTER, ZINC-PLATED, M8X1.25MM, 24 MM, OEM# 32000-SPM | 32000-SPM
3 | 10 | 90.55.656 | EA | ADAPTER, SPM ADAPTER, ZINC-PLATED, M8X1.25MM, 78 MM, OEM# 32100-SPM | 32100-SPM
4 | 5 | 90.55.657 | EA | ADAPTER, SPM ADAPTER, ZINC-PLATED, M8X1.25MM, 113 MM, FOR , OEM# 32200-SPM | 32200-SPM
5 | 10 | 90.55.658 | EA | ADAPTER, SPM GLUE-ON ADAPTER, ZINK-PLATED, OEM# 36000-SPM | 36000-SPM
6 | 1 | 90.55.660 | EA | TRANSDUCER, SPM TRANSDUCER WITH QUICK CONNECTOR TRA79, 1.5 M, FOR , OEM# TRA79-SPM | TRA79-SPM
7 | 1 | 90.55.661 | EA | CABLE, SPM CABLE 8-PIN TO TNC, 1 M., OEM# SPM-8PIN-TNC | SPM-8PIN-TNC
8 | 1 | 90.55.662 | EA | COUNTERSINK, COUNTERSINK WITH FIXED PILOT FOR SPM ADAPTERS M8, OEM# 82053-SPM | 82053-SPM
9 | 1 | 90.55.663 | EA | HOLDER, HOLDER FOR COUNTERSINK, SPM, FOR , OEM# 81027-SPM | 81027-SPM
10 | 1 | 90.55.664 | EA | COUNTERSINK, COUNTERSINK, ANGLE 90°, Ø12 MM, FOR INSTALLATION OF SPM ADAPTERS, OEM# 81028-SPM | 81028-SPM
11 | 1 | 90.55.665 | EA | PILOT, PILOT FOR M8 SPM ADAPTERS, OEM# 81031-SPM | 81031-SPM
12 | 4 | 90.55.666 | EA | TRANSDUCER, SPM TRANSDUCER WITH TMU, M8X1.25 MM., FOR , OEM# 42000-SPM | 42000-SPM
13 | 4 | 90.55.667 | EA | TRANSDUCER, SPM TRANSDUCER 44000 SERIES, M8X1.25 MM., OEM# 44000-SPM | 44000-SPM
14 | 4 | 90.55.668 | EA | CABLE, SPM CABLE WITH TNC SEALING CONNECTORS, 5 M, OEM# 47125-5-SPM | 47125-5-SPM
15 | 4 | 90.55.669 | EA | ADAPTER, TNC-TNC ADAPTER SPM, JACK-JACK, FOR SEALED CONNECTION, FOR , OEM# 13268-SPM | 13268-SPM
16 | 4 | 90.55.670 | EA | CONNECTOR, TNC-TNC TERMINAL CONNECTOR FOR SPM ADAPTERS, OEM# 13777-SPM | 13777-SPM
17 | 8 | 90.55.671 | EA | CAP, TNC DUST CAP FOR JACK OF SPM ADAPTERS, OEM# 93035-SPM | 93035-SPM
18 | 2 | 90.55.672 | EA | CABLE, SEALING TNC CABLE PLUG FOR SPM ADAPTERS, OEM# 13008-SPM | 13008-SPM