Terms of Reference for the purchase of an Electronic Stroke Length Controller Drive for Pulsafeeder Pulsa Series 7120 Pump

| Item № | Required parameters for goods, works, services to be purchased (subject of the purchase) | Specific requirements for goods, work, and services |
| --- | --- | --- |
| 1 | Name/type/quantity/volumes/measure unit | Name: Electronic Stroke Length Controller Drive / PULSAmatic for Pulsafeeder Pulsa Series 7120 hydraulic metering pump (model 7120‑S‑E). Purpose: Automation of reagent dosing by automatically adjusting the pump stroke length. Technical specifications: - Full compatibility with Pulsa 7120 pump. - Stroke control range: 0-100%. - Control signal: 4-20 mA. - Power supply: 230 V AC. - Enclosure protection: not lower than IP65. Quantity: 1 unit. |
| 2 | Delivery location | 9 Naryn highway, Balykchy, Issyk-Kul region, Kyrgyz Republic. |
| 3 | Delivery deadline | To be agreed upon during the Agreement drafting stage, considering the delivery deadlines specified in the Commercial Proposal. |
| 4 | Procedure (sequence, stages) of work | - Submission of a Commercial Proposal, technical specifications, and drawings with connection dimensions. - Discussion with the Client’s specialists. Clarifications, amendments, and approval of technical solutions (if required). - Packaging, shipment, and transportation (terms to be specified during the Agreement drafting stage). |
| 5 | Requirements for goods, services and works to be delivered | Requirements for equipment quality and specifications: - Full compatibility with the adjustment assembly of the Pulsafeeder Pulsa Series 7120 pump. - The actuator housing shall be provided with corrosion protection. - The equipment shall be capable of operating at ambient temperatures ranging from –20 to +50 °C. - External protection rating: IP65. Requirements for documentation: - Product passport. - Certificate of quality/origin. - Installation and operating instructions. - Electrical wiring diagram (including 4–20 mA). Requirements for packaging and transportation: - Factory packaging shall ensure protection against moisture and mechanical damage. |
| 6 | Completion and acceptance procedure | The equipment shall be accepted by the Client’s Commission based on: - Visual inspection. - Verification of completeness. - Comparison of actual characteristics with the TOR. - Verification of documentation (passport, certificates). |
| 7 | Requirements for the submission of technical and related documentation to the Client upon completion of the work | The Supplier shall submit to the Client the following documents: - Product passport. - Certificate of conformity/quality. - Operating and installation instructions. - Wiring diagram for connection to PLC (4–20 mA analog signal). |
| 8 | Warranty obligations | Warranty conditions: - Warranty: at least 12 months from the date of commissioning. - Supplier's technical support shall be available during the warranty period. - In case of a factory defect identified during the warranty period, the equipment shall be replaced free of charge. |