## Lot 1
Line | Qty | Code | Unit | Long Name | Item Code
1 | 6 | 50.01.767 | EA | HEATER, 380 VOLT, 7.6 KW, 1 PHASE RADIANT | OKD717C4
2 | 2 | 50.15.609 | EA | RELAY, 8 PIN 240 VAC COIL SOCKET | RCP8002 230AC (OLD #60-12)

## Lot 2
Line | Qty | Code | Unit | Long Name | Item Code
1 | 148 | 15.00.065 | MT | CABLE, HEATING, SELF- REGULATING, 230V, 29 W/MAT 10°C, 10BTV2-CT | 10BTV2-CT
2 | 5 | 50.15.071 | EA | PANEL, STEEL 10 X 8 X 6 BOX | LP2520

## Lot 3
Line | Qty | Code | Unit | Long Name | Item Code
1 | 2 | 50.52.383 | EA | REMOTE, CONTROL SAGA, FOR HOIST CV №002, OEM# SAGA1-L10 RX | SAGA1-L10 RX
2 | 1 | 50.52.384 | EA | REMOTE, WIRELESS REMOTE CONTROL TRANSMITTER SAGA, FOR HOIST CV №002, OEM# SAGA1-L10 TX | SAGA1-L10 TX
3 | 1 | 50.52.385 | EA | POWER SUPPLY, TDR-240-24 DIN RAIL POWER SUPPLY, 24V, 10A, 240W, FOR HOIST CV №002, OEM# TDR-240-24 | TDR-240-24
4 | 1 | 50.52.386 | EA | CONTACTOR, PML-5165 DM MAGNETIC CONTACTOR, 100A, 24VDC, KEAZ, FOR HOIST CV №002, OEM# ПМЛ-5165 ДМ | ПМЛ-5165 ДМ
5 | 1 | 50.52.387 | EA | CONTACTOR, PML-1165 M MAGNETIC CONTACTOR, 10A, 24VDC, KEAZ, FOR HOIST CV №002, OEM# ПМЛ-1165 М | ПМЛ-1165 М
6 | 2 | 50.52.388 | EA | BLOCK AUXILIARY CONTACT , KEAZ PKL-22 AUXILIARY CONTACT BLOCK, 2NO + 2NC, UHL4, FOR HOIST CV №002, OEM# ПКЛ-22 | ПКЛ-22
7 | 1 | 50.52.389 | EA | RELAY, KEAZ RTL-1006-2 THERMAL OVERLOAD RELAY, 1-1.6 A, UHL4, FOR HOIST CV №002, OEM# РТЛ-1006-2 | РТЛ-1006-2
8 | 1 | 50.52.390 | EA | RELAY, KEAZ RTL-1022-2 THERMAL OVERLOAD RELAY, 17-25 A, UHL4, FOR HOIST CV №002, OEM# РТЛ-1022-2 | РТЛ-1022-2
9 | 2 | 50.52.391 | EA | TERMINAL BLOCK, KEAZ KRL-1 DIN RAIL TERMINAL BLOCK, UHL4, FOR HOIST CV №002, OEM# КРЛ-1 | КРЛ-1
10 | 1 | 50.52.392 | EA | REMOTE, BRISWIK CRANE PENDANT CONTROL STATION, 10 A, 440 VAC, FOR HOIST CV №002, OEM# ПКТ-44Б-СК | ПКТ-44Б-СК
11 | 1 | 50.52.393 | EA | SWITCH LIMIT, TNC-TNC ADAPTER SPM, JACK-JACK, FOR SEALED CONNECTION, FOR HOIST CV №002, OEM# ДВГ-КВ-Е52Л1 | ДВГ-КВ-Е52Л1
12 | 1 | 50.52.394 | EA | SWITCH, GORELTECH ППГ-1325-380AC-1 EXPLOSION-PROOF ROTARY SWITCH, 32 A, 380 VAC, FOR HOIST CV №002, OEM# ППГ-1325 | ППГ-1325
13 | 1 | 50.52.395 | EA | LIMITER, КОГ-160 ELECTROMECHANICAL WIRE ROPE OVERLOAD LIMITER, FOR HOIST CV №002, OEM# КОГ-160 | КОГ-160
14 | 1 | 50.52.396 | EA | MICROSWITCH, MP 45-21-10711-66 UHL1 MICROSWITCH, IP66, FOR HOIST CV №002, OEM# МП 45-21-10711-66 | МП 45-21-10711-66

## Lot 4
Line | Qty | Code | Unit | Long Name | Item Code
1 | 5 | 00.00.334 | EA | CONVERTER, VFD LSI | Модель LCI-G315/P355-4
2 | 100 | 00.02.620 | EA | DRIVER LED MED -MB-36-48W | MED -MB-36-48W
3 | 9 | 24.00.388 | EA | FAN, AC AXIAL FAN PLASTIC BLADES 230V50HZ2700RPM OEM#15038PB-B3L-EP-00, FOR KILN THYRYSTOR OEM# 15038PB-B3L-EP-00 | 15038PB-B3L-EP-00
4 | 1 | 25.00.103 | EA | TRANSMITTER, PRESSURE OMNI-P1-010RK015IS, 0-10 BAR, 4-20MA, USE FOR OIL | OMNI-P1-010RK015IS
5 | 1 | 45.06.057 | EA | CONTROLLER BURNERTRONIC BT320 667R1 1320-1 FOR STEAM GENERATOR BURNERS 4000/5000 | 0006020777
6 | 4 | 50.01.484 | EA | FAN, 240 VOLT SINGLE PHASE 50 HZ WALL SUPPLY6 BLADE 12` DIAM TER 1323 CFM | XFS300A
7 | 8 | 50.01.629 | BX | WIRENUT, IDEAL RED 100/BOX | 30-452
8 | 1 | 50.01.654 | EA | FAN ASSEMBLY, UPS FERRUS QFE SERIES UPS | 11938FB-B3N-EP-00
9 | 5 | 50.01.677 | EA | BREAKER, 150A HMCP, TRIP 450-1500 A | HMCP150T4C
10 | 1 | 50.01.931 | EA | THERMOSTAT, 240 VOLT UNIVERSAL -1 DEGREE CELSIUS TO+132 DEGREE CELSIUS MID SCALE DIFFERENTIAL 2.8 CAPILLARY LENTH 5-1/2 | T6031D-1049
11 | 2 | 50.01.941 | EA | TRANSFORMER, 50 VA PRIMARY 240/480 V PRIMARY 12/24 VSECONDARY WITH A FUSED SECONDARY 50HZ | PH50QR
12 | 8 | 50.02.000 | EA | PANEL, MCH TYPE C MCB MCH (50 A 3P) | FAZ-C50/3
13 | 5 | 50.02.001 | EA | BREAKER, FIELD MOUNTABLE RC UNIT 30 MA MR 30 | MR30
14 | 20 | 50.02.006 | EA | BREAKER CURCUIT, TYPE C, 32 AMP, 2P, (MCB EMCH 232) | FAZ-C32/2
15 | 1 | 50.03.230 | EA | VSD, 0.4KW OMRON 3G3JX-AB004-EF FOR CYNOPROBEV3/WAD CYANIDE ANALYZER | 3000110
16 | 43 | 50.15.060 | EA | BOX, SINGLE GANG, CAST, WITH ONE 1/2`TAPPED HOLE, WEATHER PROOF | APP FS150 (OLD# APFS1)
17 | 200 | 50.15.062 | EA | BOX, ROUND 4" C/W COVER RAB 1/2 NPT | RB5V+CR3V
18 | 6 | 50.15.066 | EA | ENCLOSURE, POLYESTER, HINGED COVER HAMMOND TYPE-4,6 X 6 X 4"C/W STEEL INNET PANEL | PJ864L +14R0705
19 | 8 | 50.15.069 | EA | ENCLOSURE, HINGED COVER BOX H= 9.85 X W = 7.9 X D =5.9" | 32FE84

## Lot 5
Line | Qty | Code | Unit | Long Name | Item Code
1 | 50 | 00.02.470 | EA | LAMP ARMSTRONG 60*60 CM 55W LAMP STALKER 55W | ARMSTRONG LAMP
2 | 63 | 50.02.620 | EA | FIXTURE, LIGHT FLUORESCENT, 4 FT, 220V, 50HZ | 0031236313
3 | 18 | 50.02.634 | EA | PACK, 120W WALL LIGHT, TEKLED, 85-295VAC, AC85-277V, 50-60HZ, COLOR TEMPERATURE: 6000-6500K | TEK-WP-120W
4 | 3 | 50.03.824 | EA | FLASH, SINGLE (60 FPM), 120-240 VAC, RED LENS | LP3P-240R
5 | 151 | 50.31.064 | EA | BULB, RUSSIAN 12V-P21-5W DOUBLE CONTACT | 12V-P21-5W
6 | 33 | 50.31.098 | EA | LIGHT, FLOOD, 200W, 230 VOLT 50HZ , LIGHT COLOR:5000K | 224-032834
7 | 33 | 50.31.200 | EA | FLOODLIGHT, BVPI 150 LED25/NW 220-240V 30W SWB CE 9114 017 32392 50/60HZ IP65 4000K | BVP150
8 | 40 | 50.31.216 | EA | LED SEARCHLIGHT, PRO NEO 200 L, 4000K 120° | 200 L 4000К 120°
9 | 1000 | 00.02.141 | EA | LAMP LED LAMP IN HOME LED-T8-M-PRO, 40W, 230V, G13, 4000K, 1200M | LED-T8-M-PRO

## Lot 6
Line | Qty | Code | Unit | Long Name | Item Code
1 | 1 | 09.00.138 | EA | STRING, MULTI-POINT THERMISTOR, 3K OHM 0.1 DEG C; INCLUDES: 10 THERMISTORS 3000 OHMS LOCATED AT EVERY 10M FROM TOP OF CABLE 10RT-100M-EL380013P CABLE, 13 PAIR 24 AWG ST | TH0022-10M
2 | 300 | 50.01.818 | MT | CABLE, POWER , GEXOL FLEXIBLE; ARMORED, NUMBEROF CORES 4; CONDUCTOR SIZE 10 AWG | 37-102-408-BS
3 | 10 | 50.01.961 | EA | TERMINATION KIT, HEAT SHRINK, OUTDOOR, CABLE SIZE 300 – 400MM2. 3ПСТБ-10-300/400 | 3ПСтБ-10-300/400
4 | 900 | 50.01.984 | MT | CABLE, PVS, 3 C/1,5MM | ПВС 3*1,5MM
5 | 20 | 50.03.801 | PK | TIE STRAP PLASTIC , CABLE, TY-RAP 8'' (100/PK) | TY5232MR
6 | 6 | 50.15.031 | EA | CABLE, CONNECTOR | ST350-483
7 | 10 | 50.15.072 | PK | MOUNTING, TY-RAP, ADHESIVE BACKED BASE | 6EEE8
8 | 120 | 50.31.110 | KT | SPLICE KIT, 20X4/C 25MM DROP CABLE | CA4S-HEATJT-25-1N*
9 | 1 | 50.31.159 | PK | FERRULE, BOOT LACE , 10 AWG X 12MM ( PIN LENGTH)1 PK=100EA | 157-1266
10 | 71 | 50.38.707 | EA | PLUG, MALE CORD END 250 VAC TWISTLOK HUBBEL 15A 2 POLE 3 WIRE L6-15P | 6C578
11 | 59 | 50.38.708 | EA | PLUG, FEMALE CORD END 250 VAC TWISTLOK HUBBEL15A 2 POLE 3 WIRE L6-15R | 6C579
12 | 5 | 50.38.710 | EA | CABLE, COUPLER FEMALE MOUNT TRAILING COUPLER C/W #C10C3019K ENTRANCE FITTING KIT | C10C2005 + C10C3019-K
13 | 3500 | 50.52.199 | MT | CABLE, ALUMINUM CABLE 10KV 3X300MM2+25MM2 CTS SHIELD AL/XLPE/CTS/PE/ POWER CABLE HS CODE: 8544492000, IEC60502-2 STANDARD | АПВБПУ 3Х300/25 НА 10КВ
14 | 1000 | 78.18.225 | MT | WIRE, TELEPHONE DROP | 13170-01-001
15 | 3 | 78.18.270 | PK | TIE STRAP PLASTIC , CABLE, TY-RAP 12"(1000/PK) | TY253M
16 | 1 | 78.18.274 | EA | SHRINK, HEAT 4:1, 32MM MIN EXPANDED ID | HSTT4A125-48-5

## Lot 7
Line | Qty | Code | Unit | Long Name | Item Code
1 | 3 | 24.00.370 | KT | REPAIR KIT, LUG , 1 PHASE, .8 - 1.2 KA | K22A39U2
2 | 2 | 50.02.406 | EA | BUSHING, REDUCING 1 1/2"TO 1 1/4" | CIRB12R10
3 | 27 | 50.02.410 | EA | NUT, RIGID LOCK 3/4" | CI 1706
4 | 50 | 50.02.413 | EA | CONNECTOR, STRAIN RELIEF 3C#14-3C#12 | T&B2524
5 | 19 | 50.02.416 | EA | CONNECTOR, TECK 3C#6 | ST 100-469
6 | 119 | 50.02.424 | EA | CONNECTOR, STRAIN RELIEF LIQUID TIGHT 1/2~ HUB CABLE SIZE .375 TO .500 | 2522
7 | 1680 | 50.02.430 | EA | STRAP, 1 HOLE 1/2"EMT | 206F89
8 | 83 | 50.02.435 | EA | WASHER, 1/2 - 1/2 FLAT REDUCER | CI12-R-4 /
9 | 10 | 50.02.460 | EA | CONNECTOR, 3/4" STRAIGHT LIQUIDTIGHT | 3513RAC
10 | 6 | 50.03.340 | EA | DISK GROUNDING RINGS DK5GD‑4FAHL MADE OF CORROSION‑RESISTANT STAINLESS STEEL WITH NOMINAL SIZES DN50–DN300 (OR MATCHING FLOWMETER FLANGE), THICKNESS 2–5 MM, DIAMETER 18 INCHES. | DK5GD‑4FAHL
11 | 6 | 50.15.034 | EA | NUT, LOCK, 3 1/2, STEEL | CI1728
12 | 30 | 50.31.120 | EA | LUG, ONE HOLE , LONG BARREL, 1/0 LUG AWG 3/8#BOLT SIZE | 54909BE
13 | 45 | 50.31.121 | EA | LUG, ONE HOLE , LONG BARREL, #2/0 AWG 3/8" BOLT SIZE | 54910BE
14 | 50 | 50.31.125 | EA | LUG, ONE HOLE , LONG BARREL, `6 AWG 1/4" BOLTHOLE SIZE, SOLD IN QTY'S OF 50 | 54905BE
15 | 9 | 50.31.135 | EA | CONNECTOR, DUAL BARREL , TYPE LAM2A | AU-800
16 | 66 | 50.31.146 | EA | SPLICE, BUTT , STANDART BARREL FOR `6 AWG | ILSCO CT-6
17 | 15 | 50.52.178 | EA | TERMINAL, POSITIVE BATTERY (10 EA/PK) | 1-100-04
18 | 15 | 50.52.179 | EA | TERMINAL, NEGATIVE BATTERY (10 EA/PK) | 2-100-04
19 | 9 | 78.18.244 | EA | CONNECTOR, CORD , STRAIN RELIEF | TB-2548
20 | 17 | 78.18.245 | EA | CONNECTOR, CORD , STRAIN RELIEF | 2558

## Lot 8
Line | Qty | Code | Unit | Long Name | Item Code
1 | 5 | 50.01.532 | EA | BREAKER, 2.5-4A 3P | GV2ME08
2 | 2 | 50.15.753 | EA | VFD, DRIVE VARIABLE SPEED, 160 KW- IP23 400V 132KWATV960 ENGINEERED DRIVE, IN STEEL CABINET | ATV960C16Q4X1O-EP
3 | 2 | 70.02.004 | EA | CONTACTOR, 3P, 25AMP,120V, LC1D25P7+INST CONTACT BLOCK LADN22 | LC1D25P7 + LAEN22
4 | 4 | 70.02.006 | EA | CONTACTOR, Schneider Electric TeSys D, LC1DT25P7, 25A, 4P, Coil 230VAC 50/60Hz | 52304274
5 | 4 | 70.02.007 | EA | CONTACTOR #LADN22 | LADN22

## Lot 9
Line | Qty | Code | Unit | Long Name | Item Code
1 | 8 | 50.15.073 | EA | ENCLOSURE, POLYESTER , SANP LATCH, 16X14X8, HAMMOND | 32FC88
2 | 3 | 50.15.074 | EA | PANEL, BACK | 14R1513
3 | 4 | 50.15.090 | EA | PANEL, METAL HINGED, WITH MOUNTING PLATE, LXWXH = 250X500X700MM, TYPE CS-75/250, EATON, FOR ORDER 111703 | R5ST0759
4 | 16 | 50.15.607 | EA | FUSE, 70A, A4J70 | A4J70
5 | 2 | 50.15.783 | EA | CONTACTOR, AF16-30-10-13 | 1SBL177001R1310
6 | 2 | 50.15.807 | EA | SWITCH, SAFETY 600V AC/CA 200A 3 POLES | ID364NF
7 | 4 | 50.15.831 | EA | FAN, DELTA 24VDC 4000RPM , FOR VFD CHINT CARBON FINES OEM# AFB0824SH | AFB0824SH
8 | 6 | 50.24.553 | EA | FUSE, 5 AMP GLASS, 1/4 X 1 1/4'' (6.3 X 32 MM), MDL SLOW BLOW, 250 VOLT | 114005
9 | 15 | 50.24.949 | EA | HOLDER FUSE SWITCH FOR INSTALLATION ON BUSBARS 160 A., FOR REACTIVE POWER COMPENSATION EQUIPMENT, ITEM , OEM# ПВР-00/160-Ш | ПВР-00/160-Ш
10 | 167 | 50.38.700 | EA | PLUG, MALE 10/16A 250VAC | 50342
11 | 6 | 50.38.712 | EA | PLUG, 60 AMP 3W 4P 600V STYLE #2 APPLETION | ACP6034BC
12 | 13 | 50.38.718 | ST | RECEPTACLE, SINGLE 220 V EUROPLUG KUPP BRAND C/W SURFACE MOUNT COVER | 069570 + 069651
13 | 4 | 50.52.018 | EA | BUTTON, RED PUSH COMPLETE WITH LATCH | 800FM-F4 + 800F-ALM
14 | 4 | 50.52.033 | EA | SWITCH, 3 POSITION SELECTOR (ONLY LEVER, NO LATCH) | 800FM-SM32
15 | 23 | 50.52.037 | EA | SWITCH, S.P. 20A/120-277 VOLTS, SINGLE POLE | 1221-2I
16 | 12 | 50.52.038 | EA | MODULE, 240 VOLT WHITE LED | 800F-Q7W
17 | 10 | 50.52.039 | EA | LIGHT, RED LENS PILOT COMPLETE WITH LATCH | ZB4BV04+ZB4BZ009
18 | 4 | 50.52.066 | EA | CONTACTOR 100-C IEC, 230V 50/60HZ, SCREW TERMINALS, LINE SIDE, 55A, 0 N.O. 0 N.C. AUXILIARY CONTACT CONFIGURATIONN #100-C55KF00 | 100-C55KF00
19 | 41 | 50.52.277 | EA | EXHAUST FAN, WITH BACK SHUTTER, 20W, 220V, Ø 100ММ | EXHAUST FAN, 20W, Ø 100ММ
20 | 17 | 50.02.614 | EA | BATTERY, RECHARGABLE CARE FREE | 27407

## Lot 10
Line | Qty | Code | Unit | Long Name | Item Code
1 | 2 | 50.52.369 | EA | CONTROLLER, NOVAR 1214 POWER FACTOR CONTROLLER KMB SYSTEM, FOR REACTIVE POWER COMPENSATION EQUIPMENT, ITEM , OEM# NOVAR 1214 | NOVAR 1214
2 | 6 | 50.52.371 | EA | CAPACITOR COSINE, PHASE COSINE CAPACITOR , 25 KVAR, TYPE: KPS 0.44-28.1-3 DRY, RATED CAPACITANCE 462.2 µF., FOR REACTIVE POWER COMPENSATION EQUIPMENT, ITEM , OEM# КПС 0.44-28.1-3 СУХОЙ. | КПС 0.44-28.1-3
3 | 6 | 50.52.372 | EA | CHOKE, THREE‑PHASE CHOKE DR3‑25‑189‑1.53‑41, 25 KVAR, 189 HZ, 1.53 MH, 7%, 400 V, FOR REACTIVE POWER COMPENSATION EQUIPMENT, ITEM , OEM# 3-ДР/163В | 3-ДР/163В
4 | 3 | 50.52.373 | EA | FAN, DUCT FAN PICCO VFU230‑637M, 230 V AC, 50/60 HZ, 65/77 W, AIRFLOW 637/707 M³/H, FOR REACTIVE POWER COMPENSATION EQUIPMENT, ITEM , OEM# VFU230‑637M | VFU230‑637M
5 | 7 | 50.52.374 | EA | CONTACTOR, ELECTROMAGNETIC CAPACITOR CONTACTOR 50 KVAR AT 400V, FOR REACTIVE POWER COMPENSATION EQUIPMENT, ITEM , OEM# ПМЛ-4160Д1МК УХЛ4 Б | ПМЛ-4160Д1МК УХЛ4 Б
6 | 12 | 50.52.375 | EA | CONTACTOR CAPACITOR CNNK 75 10N 230V 50HZ, 3P, 108A, 75KVAR, FOR REACTIVE POWER COMPENSATION EQUIPMENT, ITEM , OEM# EAC607181N | EAC607181N
7 | 22 | 50.52.532 | EA | BASE, 11 PIN OCTAL RELAY | 1YAX5
8 | 1 | 50.53.218 | KT | HEAT SHRINK 2:1, TUBING KIT, EVENTRONIC ELECTRICAL WIRE, CABLE WRAP ASSORTME | 560PCS
9 | 1 | 50.64.292 | EA | TRANSFORMER, MODEL:MT75X20-EUR, MARCUS, TYPE:DRY TYPE DISTRIBUTION (ANN); KVA:75; PRIMARY (VOLTS):400; SECONDARY (VOLTS):400Y / 231; PHASE: 3; ENCLOSURE:NEMA 1; INSULATION CLASS:220°C; TEMPERATURE RISE:150°C; FREQUENCY:50HZ; CONNECTION:DYN1(TT-1); BIL.:10KV COPPER WINDLIGS; WEIGHT/PC: 237 KG, ( OLD OEM# HT75M2R1SH-HK0150LN03RZ) | MT75X20-EUR
10 | 4 | 50.65.004 | EA | SENSOR BIO, FINGERPRINT AND PROXIMITY CARD READER #S-BIO-MF-W2 | S-BIO-MF-W2
11 | 4 | 50.65.007 | EA | BOTTON EXIT, LARGE GREEN STAINLESS STEEL DOME, IN A SURFACE MOUNT HOUSING #EBGBWC02/DR | EBGBWC02/DR
12 | 9 | 73.18.153 | EA | TAPE, WHITE PHASING | SCOTCH35-Blanc 20X19
13 | 2 | 73.26.002 | EA | SENSOR, INDUCTIVE LIMIT WITH NO CABLE (INDUCTIVELIMIT ) OMRON E2A-M30LS15-M1-B1 | E2A-M30LS15-M1-B1
14 | 3 | 73.26.046 | EA | SENSOR, INDUCTIVE LIMIT WITH NC CABLE (INDUCTIVELIMIT ) OMRON E2A-M30LS15-M1-B2 | E2A-M30LS15-M1-B2
15 | 3 | 78.18.208 | EA | CONNECTOR, BLACK , MALE 2/0, SINGLE PILOT CONTACT | SMS 8346-201
16 | 2 | 78.18.210 | EA | CONNECTOR, BLACK , FEMALE 2/0 | SMS 8346-101/2
17 | 2 | 82.01.686 | EA | TAPE, FLEXCO-LOC BELT 1-1/2, 2 AND 2-1/4"BELTCLIPS | 47495
18 | 2 | 87.02.012 | LE | HINGE, PIANO SS | 2ZFN9
19 | 5 | 89.03.551 | EA | PRESSURE SWITCH, PC-9(F), 2.5-3.6 BAR, D=1/4`, 2.5-3.6 БАР, ВНУТРЕННЯЯ РЕЗЬБА (НАКИДНАЯ ГАЙКА D=1/4`)
20 | 1 | 99.66.502 | EA | SWITCH, KPA SPDT 15A 316SS | B424S 1400KPA
21 | 3 | 99.66.027 | EA | MODULE,DATAFORTH SCM7B39‑01 ISOLATED VOLTAGE‑TO‑CURRENT SIGNAL CONDITIONING MODULE, FOR SCALE CONVEYORS 3-5 | SCM7B39-01

## Lot 11
Line | Qty | Code | Unit | Long Name | Item Code
1 | 1 | 50.15.847 | EA | INVERTER, ESQ-770-4T0075G/0110P FREQUENCY INVERTER (VFD), 7.5/11 KW, 380 V, FOR HOIST CV №002, OEM# ESQ-770-4T0075G/0110P | ESQ-770-4T0075G/0110P
2 | 1 | 50.15.848 | EA | INVERTER, ESQ-770-4T0185G/0220P FREQUENCY INVERTER (VFD), 18.5/22 KW, 380 V, FOR HOIST CV №002, OEM# ESQ-770-4T0185G/0220P | ESQ-770-4T0185G/0220P