## Import
RFQ | Line | ItemCode | SuppItemName | SuppItemCode | Qty | Unit
R29280 | 1 | 20.11.220 | 1 ‘’ BALL VALVE, THREADED, BODY MATERIAL: STAINLESS STEEL 304，TRIM MATERIAL: SS304，SEAT: POLYTETRAFLUOROETHYLENE (PTFE) F4，STEM MATERIAL: SS304，OPERATION: HANDWHEEL OPERATED | 0860064 | 140 | EA
R29280 | 2 | 20.11.233 | VALVE, BALL , G2, 2'', S.S., THREADED (NO SUBSTITUTE * MUST BE: M.A.STEWART & SONS LTCG2 INVESTMENT LAST STAINLESS STEEL 2000WOG) | 0860067 | 10 | EA
R29280 | 3 | 20.11.308 | VALVE, CHECK 10` SS WAFER | W15A-66P | 2 | EA
R29280 | 4 | 20.11.313 | VALVE, CHECK 3" FLANGED SWING SS | 13783 | 2 | EA
R29280 | 5 | 25.00.009 | VALVE, 2"BSP, STEIMEL PRESSURE RELIEF, SET@10 BAR | DSVH001 | 1 | EA
R29280 | 6 | 50.03.272 | VALVE SAMSON” PNEUMATIC CONTROL DN50, PN40, TYPE 3241, FAIL CLOSE. COMPLETE OF GLOBE VALVE WITH ACTUATOR & POSITIONER. ACTUATOR MODEL 3277-01110, 6BAR. POSITIONER MODEL 3767,4-20 MA INPUT, SINGLE ACTING, 6BAR AIR SUPP | Type 3241-7 Pneumatic Control Valve | 2 | EA
R29280 | 7 | 82.00.570 | BALL VALVE 2" NPT, BRONZE BODY, FEMALE THREADED CONNECTION PER ANSI/ASME B1.20.1, PTFE SEATS | 70-108-01 | 2 | EA
R29280 | 8 | 99.66.300 | VALVE, ASCO SOLENOID, 8317G035.240/60,220/50, PILOT OPERATED SOLENOID VALVE-3/2 NC 1/4" (DN8)-ORIFICE: 3/32-BRASS-RESILIENT: NBR 10,1 W-COIL CLASS: F | 8317G35 | 2 | EA
Official Certificate of Origin required vor every position