## Lot 1
Line | Qty | Code | Unit | Long Name | Item Code
1 | 2 | 00.02.663 | RL | TUBE PVC FOR ELECTRONIC LETTERING MACHINE MAX LM-380E LETATWIN CROSS SECTION SQUARE 0.75 MM2 | FD- 0.75
2 | 2 | 00.02.664 | RL | TUBE PVC FOR ELECTRONIC LETTERING MACHINE MAX LM-380E LETATWIN CROSS SECTION SQUARE 1 MM2 | FD-1
3 | 2 | 00.02.665 | RL | TUBE PVC FOR ELECTRONIC LETTERING MACHINE MAX LM-380E LETATWIN CROSS SECTION SQUARE 2,5 MM2 | FD-2.5
4 | 24 | 01.01.244 | KT | REPAIR KIT, LATCH | N00209416
5 | 1 | 09.00.138 | EA | STRING, MULTI-POINT THERMISTOR, 3K OHM 0.1 DEG C; INCLUDES: 10 THERMISTORS 3000 OHMS LOCATED AT EVERY 10M FROM TOP OF CABLE 10RT-100M-EL380013P CABLE, 13 PAIR 24 AWG ST | TH0022-10M
6 | 20 | 15.00.014 | EA | FAN, EXHAUST 6`WALL MOUNT 150 MM, 140902A & 140220C | EAFB-150
7 | 1 | 45.02.681 | RL | FILTER, POLYURETHANE FOAM FILTER MATERIAL, 25 MM THICKNESS, OEM# PUF-25MM-FM | PUF-25MM-FM
8 | 1 | 50.01.212 | AS | CABLE ASSEMBLY, SIEMENS FOR TRANSDUCER SPECTRA SYSTEM 190 FLOWMETER PIPE SIZE RANGE 0.375` TO 255` | 7ME3960-0CK01
9 | 2 | 50.01.591 | EA | BREAKER, 600A 3 POLE I-T-E SENTRON SERIES TYPE: HLD6-A | HLD63B600
10 | 2 | 50.01.592 | EA | OVERLOAD, PROTECTION HEATER FURNAS E-61 | E61
11 | 2 | 50.01.671 | EA | TRANSDUCER, JUXTA AC CURRENT, MODEL: 2469, TRANSDUCER FUNCTION: MEDIUM CURRENT, INPUT: 0-5 AMPERE AC OUTPUT: 4-20 MA DC, INPUT FREQUENCY: 50 HZ, AUXILIARY POWER: 170-264 AC, ARTICLE#2489-21-381-AHD-2 | 246921-381-AHD-2
12 | 15 | 50.01.794 | EA | FAN 120MM HEAT SINK (RECTIFIER) | FAN 120MM HEAT SINK (RECTIFIER)
13 | 15 | 50.01.795 | EA | FAN 160MM HEAT SINK (INVERTER) | FAN 160MM HEAT SINK (INVERTER)

## Lot 2
Line | Qty | Code | Unit | Long Name | Item Code
1 | 300 | 50.01.818 | MT | CABLE, POWER , GEXOL FLEXIBLE; ARMORED, NUMBEROF CORES 4; CONDUCTOR SIZE 10 AWG | 37-102-408-BS
2 | 2 | 50.01.941 | EA | TRANSFORMER, 50 VA PRIMARY 240/480 V PRIMARY 12/24 VSECONDARY WITH A FUSED SECONDARY 50HZ | PH50QR
3 | 10 | 50.01.961 | EA | TERMINATION KIT, HEAT SHRINK, OUTDOOR, CABLE SIZE 300 – 400MM2. 3ПСТБ-10-300/400 | 3ПСтБ-10-300/400
4 | 5 | 50.01.987 | EA | THERMOMETER DST4 PROBE IS A GROUNDED TYPE T THERMOCOUPLE SENSOR WITH A 3/4" NPT THREADED CONNECTION, RIGID DESIGN, WELDED HERMETIC CONSTRUCTION MADE OF SS304 STAINLESS STEEL WITH A 1/4" DIAMETER, SUITABLE FOR TEMPERATURES UP TO ~260°C, AND A LENGTH OF 27" (~686 MM). #OEM DST4-T-02-B-2-1-27X | DST4-T-02-B-2–1-27X
5 | 5 | 50.01.988 | EA | THERMOMETER DST4 PROBE IS A GROUNDED TYPE K THERMOCOUPLE SENSOR WITH A 3/4" NPT THREADED CONNECTION, RIGID DESIGN, WELDED HERMETIC CONSTRUCTION MADE OF SS316 STAINLESS STEEL WITH A 1/2" DIAMETER AND TAPERED TIP, SUITABLE FOR TEMPERATURES UP TO ~815°C, AND A LENGTH OF 27" (~686 MM) | DST4-K-02-B-2–9-27X
6 | 5 | 50.02.030 | EA | BREAKER, CIRCUIT, 10 AMP, MERLIN GERIN MULTI 9 ,C60N, 230/240V, 1P, C-CURVE (FOR WATER TREATMENT PLANT) | HGD63P
7 | 1 | 50.02.456 | EA | GRIP, CABLE | 02201092
8 | 10 | 50.02.460 | EA | CONNECTOR, 3/4" STRAIGHT LIQUIDTIGHT | 3513RAC
9 | 17 | 50.02.614 | EA | BATTERY, RECHARGABLE CARE FREE | 27407
10 | 63 | 50.02.620 | EA | FIXTURE, LIGHT FLUORESCENT, 4 FT, 220V, 50HZ | 0031236313
11 | 18 | 50.02.634 | EA | PACK, 120W WALL LIGHT, TEKLED, 85-295VAC, AC85-277V, 50-60HZ, COLOR TEMPERATURE: 6000-6500K | TEK-WP-120W
12 | 14 | 50.02.639 | EA | FIXTURE LED CEILING LIGHTING, 54W, 6500K, WHITE, 220V, 1220MM X 75MM | 54W, 6500K, 1220MM X 75MM
13 | 94 | 50.02.641 | EA | LAMP CEILING,TPL-2005-50-4000, DSP-2005 50W 4000K IP66 IP66 1500MM PROXIMA LED DUSTPROOF LUMINAIRE | TPL-2005-50-4000, DSP-2005 50W 4000K IP66 IP66 1500MM
14 | 2 | 50.02.718 | ST | SET, CABLE 10P 19CM FLAT 1 PIECE + 20P 20CM FLAT 2 PIECES + 40P 8CM FLAT 2 PIECES + 20P 42CM FLAT 2 PIECES + 20P 107CM FLAT 2 PIECES + 20P 60CM FLAT 1 PIECE + CAT6 COMMUNICATION 1 PIECE., FOR UPS GERMAREL OEM# FLAT CABLE SET UPS GERMAREL | FLAT CABLE SET UPS GERMAREL
15 | 1 | 50.03.230 | EA | VSD, 0.4KW OMRON 3G3JX-AB004-EF FOR CYNOPROBEV3/WAD CYANIDE ANALYZER | 3000110
16 | 1 | 50.03.244 | EA | TRANSMITTER KROHNE MAGNETIC FLOW - MEETGEVER OPTIFLUX 2000 - 18" ASME B 16.5 150 LB RF - HARD RUBBER, OEM#OPTIFLUX 2300 W KA-EAC - MEETGEVER OPTIFLUX 2000 | OPTIFLUX 2300 W KA-EAC - Meetgever OPTIFLUX 2000-18"
17 | 1 | 50.03.324 | EA | BOARD PLC MANUFACTURED BY GMT-CNT, PROCESSOR MODEL GLK 396R FOR STEAM GENERATOR 1500 | GLC 396R
18 | 1 | 50.03.325 | EA | MODULE – MODEL GXM-40UA, FOR STEAM GENERATOR 1500 | GXM-40UA
19 | 1 | 50.03.326 | EA | MODULE – MODEL GXM-40AN FOR STEAM GENERATOR 1500 | GXM-40AN
20 | 1 | 50.03.327 | EA | PANEL HMI MODEL TS GM070E FOR STEAM GENERATOR 1500 | TS GM070E

## Lot 3
Line | Qty | Code | Unit | Long Name | Item Code
1 | 1 | 50.03.331 | EA | CONTROLLER SIEMENS COMBUSTION CONTROL UNIT FOR THE MILL STEAM GENERATOR # RMO88.53C2 | RMO88.53C2
2 | 1 | 50.04.029 | EA | TRANSFORMER, CURRENT TRANSFORMER LXK 250, 0.5 KV, 50HZ, 50/5 A, 10P5, 1VA | LXK 250
3 | 1 | 50.09.034 | EA | TRANSFORMER, OIL 400 KVA, TMG-400/6/0.4 | 1974153
4 | 2 | 50.09.037 | EA | TRANSFORMER 50KVA, 380/36 V FOR 1T HOIST #OEM FD-680 | FD-680
5 | 2 | 50.15.059 | EA | BOARD CONTROL FOR 1T HOIST #OEM XK0047 | XK0047
6 | 50 | 50.15.079 | EA | TRAY, CABLE PLASTIC 25X40, 2 METER LONG | 408-15040
7 | 4 | 50.15.615 | EA | THERMOMETER, RTD OUTLET STRIP SOLUTION IN-LINE ELECTRIC HEATERS | 4RA3/4-1/2-5-RTD14-1
8 | 17 | 50.15.648 | EA | HEATER, BASEBOARD 24OV 1500W 60`, DIMENSIONS: 72-IN(L) X 2-IN(W) X 5-IN(H) CERTIFICATE CSA US COLOR / FINISH WHITE MATERIAL STEEL MAXIMUM VOLTAGE 240V, OEM#AB61502W | stelpro AB61502W
9 | 60 | 50.15.652 | EA | ELEMENT, UNIT HEATER REPLACMENT KXF11008-45 380V 3Ø 5000W | KXF11008-45
10 | 26 | 50.15.666 | EA | ELEMENT, REPLACEMENT 25 KW UNIT HEATER 480 V 13.5KW | KXF 11008-14
11 | 4 | 50.15.670 | EA | MOTOR, FAN, 5KW HEATER MAGNETEK, 240V, 60HZ, .7A, 1550RPM, 1/20HP | B11041-02
12 | 12 | 50.15.686 | EA | ELEMENT, HEATING (TEN) SUS304, D1.2’’L=230MM, 380V, 4.5KW | SUS304
13 | 1 | 50.15.714 | EA | CRADLE, GRANDLE FOR WITHDRAWABLE ACB E2.2 W FP LU=800 HR-HR 2000A | 1SDA073909R1
14 | 200 | 50.15.806 | EA | LIGHT, CEILING SPP-4-150-5K-P | SPP-402-0-50K-150
15 | 1 | 50.15.847 | EA | INVERTER, ESQ-770-4T0075G/0110P FREQUENCY INVERTER (VFD), 7.5/11 KW, 380 V, FOR HOIST CV №002, OEM# ESQ-770-4T0075G/0110P | ESQ-770-4T0075G/0110P
16 | 1 | 50.15.848 | EA | INVERTER, ESQ-770-4T0185G/0220P FREQUENCY INVERTER (VFD), 18.5/22 KW, 380 V, FOR HOIST CV №002, OEM# ESQ-770-4T0185G/0220P | ESQ-770-4T0185G/0220P
17 | 1 | 50.24.945 | EA | BLOCK, GLASS/CERAMIC FUSE , 10 OR 12 POLE, SNAP-APART, 300V/30A, SCREW CONNECTION TYPEONLY, GLASS 3AG (1/4'' X 1-1/4'' ), (PPS#49331) | 1/4 " X 1-1/4"
18 | 12 | 50.31.073 | EA | LAMP, 175W METAL HALIDE MOGUL BASE | SYL64030
19 | 6 | 50.31.097 | EA | LIGHT, HIGH BAY, 300W LED, 230 VOLT 50 HZ (UL MEANWELL DRIVER LED HIGH BAY S) COLOR OFTEMPERATURE SHOULD BE 6000-6500K, -IL-H300W | TEK-IL-H300W

## Lot 4
Line | Qty | Code | Unit | Long Name | Item Code
1 | 59 | 50.31.119 | EA | LUG, ONE HOLE , LONG BARREL, #1/0 AWG 3/8#BOLT SIZE, SOLD IN QTY'S OF 10 | TB54109
2 | 1 | 50.31.159 | PK | FERRULE, BOOT LACE , 10 AWG X 12MM ( PIN LENGTH)1 PK=100EA | 157-1266
3 | 2 | 50.31.163 | PK | FERRULE, BOOT LACE , 2 X 10 AWG X 14MM ( PIN LENGTH) 1 PK=100EA | 311-8003 rs pro
4 | 6 | 50.31.170 | KT | TERMINATION KIT, HEAT SHRINK END TERMINATION TYPE: ZPKNTP-10-300/400 | 3ПКНТП-10-300/400
5 | 200 | 50.31.200 | EA | FLOODLIGHT, BVPI 150 LED25/NW 220-240V 30W SWB CE 9114 017 32392 50/60HZ IP65 4000K | BVP150
6 | 14 | 50.31.207 | EA | LAMP, LED, LOYO WORK 9090: LED POWER: 90W, OPERATING VOLTAGE: 10-30V WATERPROOF RATE:IP67 | LOYO WORK 9090
7 | 50 | 50.31.217 | EA | BULB, CORN LED BULB 9W, 220V, E27, 360° | CLASA60P85W827E27FR
8 | 5 | 50.38.710 | EA | CABLE, COUPLER FEMALE MOUNT TRAILING COUPLER C/W #C10C3019K ENTRANCE FITTING KIT | C10C2005 + C10C3019-K
9 | 4 | 50.38.714 | EA | PLUG, 30 AMP 3W 4P 600 VAC STYLE #2 APPLETON, NO SUBSTITUTE | ACP3034BC
10 | 13 | 50.38.718 | ST | RECEPTACLE, SINGLE 220 V EUROPLUG KUPP BRAND C/W SURFACE MOUNT COVER | 069570L + 069651L
11 | 2 | 50.39.052 | EA | BRIDGE, RECTIFIER, DIODE 1336STG 460V 7.5-15HP | 1336-BR-SP1A
12 | 50 | 50.52.123 | EA | TAPE, SEMI-CONDUCTING SCOTCH BRAND 13 ELECTRICAL | SCOTCH 13
13 | 15 | 50.52.178 | EA | TERMINAL, POSITIVE BATTERY (10 EA/PK) | 1-100-04
14 | 15 | 50.52.179 | EA | TERMINAL, NEGATIVE BATTERY (10 EA/PK) | 2-100-04
15 | 1 | 50.52.202 | EA | BELL, FIRE ALARM | 343A-GI
16 | 10 | 50.52.365 | EA | SWITCH INTERNAL MOUNTING 52.50.023, 250 V, 10 A SINGLE-KEY, WHITE | SWITCH INTERNAL
17 | 4 | 50.52.367 | EA | FAN BATHROOM EXHAUST D100 15.01.600, 250 V, 14 WATTS, 97 M3/H 35 DB | FAN D100
18 | 1 | 50.52.368 | EA | SWITCH AUTOMATIC TRANSFER FOR THE 26131 GENERATOR #KPATS-75-3 | KPATS-75-3
19 | 1 | 50.52.370 | EA | AMMETER, AMPER METER EKF AMA 721 300/5A MEASURING RANGE: 0–300 A. INPUT: 5 A AC SIZE 72 × 72 MM, FOR REACTIVE POWER COMPENSATION EQUIPMENT, ITEM , OEM# EKF AMA 721 300/5A | EKF AMA 721 300/5A
20 | 24 | 50.52.380 | EA | CLAMP CONTACT НПО TO TM (ТМГ) 400 KVA (M20X2.5) COMPLETE WITH HARDWARE #OEM NF-00001650 FOR ELECTROWINNING BATH | НФ-00001650

## Lot 5
Line | Qty | Code | Unit | Long Name | Item Code
1 | 2 | 50.52.381 | EA | CHOKE, THREE PHASE CHOKE, 50 KVAR, 400 V, FOR REACTIVE POWER COMPENSATION EQUIPMENT, ITEM, MODEL DR-Z-50-189-0, 77-82, OEM 3-DR 1492 | 3-ДР/1492
2 | 2 | 50.52.382 | EA | CAPACITOR COSINE, PHASE COSINE CAPACITOR , 50 KVAR, TYPE: KPS 0.44-56.2-3/ RATED CAPACITANCE 924.5 µF FOR REACTIVE POWER COMPENSATION EQUIPMENT, OEM# КПС 0.44-56.2-3 СУХОЙ. | КПС 0.44-56.2
3 | 2 | 50.52.383 | EA | REMOTE, CONTROL SAGA, FOR HOIST CV №002, OEM# SAGA1-L10 RX | SAGA1-L10 RX
4 | 1 | 50.52.384 | EA | REMOTE, WIRELESS REMOTE CONTROL TRANSMITTER SAGA, FOR HOIST CV №002, OEM# SAGA1-L10 TX | SAGA1-L10 TX
5 | 1 | 50.52.392 | EA | REMOTE, BRISWIK CRANE PENDANT CONTROL STATION, 10 A, 440 VAC, FOR HOIST CV №002, OEM# ПКТ-44Б-СК | ПКТ-44Б-СК
6 | 1 | 50.52.393 | EA | SWITCH LIMIT, TNC-TNC ADAPTER SPM, JACK-JACK, FOR SEALED CONNECTION, FOR HOIST CV №002, OEM# ДВГ-КВ-Е52Л1 | ДВГ-КВ-Е52Л1
7 | 1 | 50.52.557 | EA | CONTROL INDUSTRIAL REMOTE FOR TOWER MILL DOOR #15 MODEL YTK-T2 SERIAL NUMBER K44534373 | YTK-T2
8 | 1 | 50.53.218 | KT | HEAT SHRINK 2:1, TUBING KIT, EVENTRONIC ELECTRICAL WIRE, CABLE WRAP ASSORTME | 560PCS
9 | 2 | 50.64.303 | KT | REPAIR KIT, CONTACT SELECTOR SWITCH | 40209
10 | 10 | 50.64.326 | EA | TRANSFORMER , CURRENT TRANSFORMER 800A MEASURING RANGE 0～+800, FOR ETP PLC OEM# АET-800А | АET-800А
11 | 10 | 50.64.327 | EA | TRANSFORMER , CURRENT TRANSFORMER 400A. MEASURING RANGE 0～+400 , FOR ETP PLC OEM# АET-400А | АET-400А
12 | 10 | 50.64.328 | EA | TRANSFORMER , CURRENT TRANSFORMER 200A. MEASURING RANGE 0～+200, FOR ETP PLC OEM# АET-200А | АET-200А
13 | 1 | 50.64.329 | EA | TRANSFORMER , CURRENT TRANSFORMER EKF TTE-40 300/5 0.5S , FOR REACTIVE POWER COMPENSATION EQUIPMENT, ITEM , OEM# EKF TTE-40 300/5 0.5S | EKF TTE-40 300/5 0.5S
14 | 4 | 50.65.004 | EA | SENSOR BIO, FINGERPRINT AND PROXIMITY CARD READER #S-BIO-MF-W2 | S-BIO-MF-W2
15 | 4 | 50.65.007 | EA | BOTTON EXIT, LARGE GREEN STAINLESS STEEL DOME, IN A SURFACE MOUNT HOUSING #EBGBWC02/DR | EBGBWC02/DR
16 | 3 | 73.18.024 | EA | BREAKER, WITH KT3175T TRIP UNIT | KD3400FS 175A + UVR
17 | 9 | 78.18.194 | EA | CONNECTOR, TECK S | ST150-472
18 | 3 | 78.18.199 | PK | CONNECTOR, HOLE 4/0 1/2INCH, COMES IN PACK OF 25 | 23YZ35
19 | 3 | 78.18.208 | EA | CONNECTOR, BLACK , MALE 2/0, SINGLE PILOT CONTACT | SMS 8346-201
20 | 2 | 78.18.210 | EA | CONNECTOR, BLACK , FEMALE 2/0 | SMS 8346-101/2

## Lot 6
Line | Qty | Code | Unit | Long Name | Item Code
1 | 1000 | 78.18.225 | MT | WIRE, TELEPHONE DROP | 13170-01-001
2 | 15 | 78.18.241 | EA | CONNECTOR, CORD , STRAIN RELIEF | TB-2585
3 | 9 | 78.18.244 | EA | CONNECTOR, CORD , STRAIN RELIEF | TB-2548
4 | 11 | 78.18.271 | PK | TIE STRAP PLASTIC , CABLE, TY-RAP 15`, (1000/PK) | SG370S-MO
5 | 1 | 81.00.077 | EA | RADIOCONTROL SCANRECO 2.4GHZ & FOR NEW HYDRAULIC HAMMER OEM 1641 G3CAN/TR05 | 1641 G3CAN/TR05
6 | 5 | 85.04.272 | EA | NOZZLE, FLAT FAN SPRAY NOZZLE, FLOW FACTOR 15, SPRAY ANGLE 65°, 3/8" THREAD, AISI 303 STAINLESS STEEL, EUS 3/8 MC3E‑15‑65 SS303 | MC3E‑15‑65 SS303
7 | 1 | 87.02.020 | EA | DETECTOR, BEARING TEMPERATURE | 4001A1653GSP250
8 | 2 | 89.03.059 | EA | CONTACTOR, 3 POLE , 4KW, 220VAC COIL | CA7-9-10 240V50/277V60
9 | 5 | 89.03.551 | EA | PRESSURE SWITCH, PC-9(F), 2.5-3.6 BAR, D=1/4`, 2.5-3.6 БАР, ВНУТРЕННЯЯ РЕЗЬБА (НАКИДНАЯ ГАЙКА D=1/4`)
10 | 2 | 89.06.044 | EA | SWITCH, TILT RAMSEY 10 DEGREE 220 VAC 50 HZ | 21-39-25
11 | 12 | 90.55.610 | EA | CONNECTOR, MALE, HYDRAULIC FITTING, 1/2" BSPP-3/4"NPTF | 22450812
12 | 2 | 90.55.625 | EA | CABLE, SPM MEASURING, 8 PIN - 2 PIN, 1.5M SPIRAL | CAB82-1,5
13 | 1 | 90.56.005 | EA | SWITCH 4, P/B ACTUATOR GRN P-P, 46611, ASSY, SAMSTAT-30 CTRLR W/ DUMP & 47094 SPARES, EXPANDED SAM-30 SUP, FOR FINAL TAIL SAMPLER SAMSTAT-30 1600X608, OEM# 75356 | 75356
14 | 1 | 90.56.007 | EA | CONTROL TRANSFORMER MP ASSY 2, 47094 SPARES, EXPANDED SAM-30 SUP, FOR FINAL TAIL SAMPLER SAMSTAT-30 1600X638, OEM# 77337 | 77337
15 | 1 | 90.56.010 | EA | BOARD CONTROL EN SAMP STAT #OEM REV 37940 | REV 37940
16 | 1 | 90.56.019 | EA | EASY, PROC 24VDC 12I 4AI 8TO, 47094 SPARES, EXPANDED SAM-30 SUP, FOR FINAL TAIL SAMPLER SAMSTAT-30 1600X605, OEM# 77369 | 77369
17 | 1 | 99.66.202 | EA | POTENTIOMETER, 24` LINER | LP801-600