## Import
Line | ItemCode | SuppItemCode | SuppItemName | Unit | Qty
1 | 00.02.725 |  | COAX HYDRAULIC HOSE WITH “SINGLE” COUPLING, 10 | EA | 1
2 | 49.26.257 | BOX PROTECTIVE (CASE) | BOX PROTECTIVE (CASE) FOR A FIRE EXTINGUISHER | EA | 15
3 | 49.25.374 | RSS E-FEC10 | COVER, PROTECTIVE COVER FOR A 5-LITER FIRE EXTINGUISHER | EA | 419
4 | 49.26.220 | HOSE, METAL D-15MM | HOSE, METAL SLEEVE IN PVC INSULATION D-15MM IN PVC INSULATION-JACKET | MT | 1989
5 | 49.26.244 | IO 102-20/B2M | DETECTOR, MAGNETIC CONTACT DETECTOR IO 102-20/B2M | EA | 10
6 | 49.26.206 | MAYAK-12-KP | ALARM MAYAK-12-KP COMBINED LIGHT AND SOUND SECURITY AND FIRE ALARM WITH STROBE LAMP | EA | 3
7 | 49.26.218 | KSVVNG(A)-LS 4X0.5 MM | CABLE, MOUNTING FOR ALARM SYSTEM KSVVNG(A)-LS 4X0.5 MM | MT | 400
8 | 49.26.325 | 007264 | VALVE, FIRE HYDRANT VALVE KPLP-50-1, STRAIGHT, BRASS, FOR INTERNAL FIRE WATER SUPPLY SYSTEMS, WITH COUPLING AND SPIGOT, NOMINAL DIAMETER 50 MM, WORKING PRESSURE 1.6 MPA | EA | 2
9 | 49.25.379 | 5101011700003 | POWDER FIRE EXTINGUISHER OP-100 | EA | 5
10 | 00.00.950 | FIRE SHIELD | FIRE SHIELD CLOSED FIRE SHIELD WITH THE NECESSARY FIRE EXTINGUISHING EQUIPMENT | EA | 20
11 | 49.25.373 |  | БИРКИ ДЛЯ ОГНЕТУШИТЕЛЕЙ, ГРАВИРОВОЧНЫЙ ПЛАСТИК 8см * 5.5см * 0.6см, ЦВЕТ - СЕРЕБРО МАТОВОЕ, ГОДА СЛЕВА: 2023, 2024 / ГОДА СПРАВА: 2024, 2026 / МЕСЯЦЫ ПОСРЕДИНЕ | EA | 343
12 | 49.26.223 | CHANNEL, CABLE 25 ММ X 25 ММ | CHANNEL, CABLE 25 ММ X 25 ММ, WHITE | MT | 200
13 | 49.26.229 | ИОПР513/101-1 | DETECTOR, FIRE , MANUAL FIRE ALARM IPR-KSK (IOPR 513/101-1) WITH COVER | EA | 200
14 | 49.26.233 |  | DETECTOR, SMOKE DIP-34A-04 / ИЗВЕЩАТЕЛЬ ДЫМОВОЙ ДИП-34А-04 | EA | 30
15 | 49.26.202 | IPR 513-10 | STATION, PULL , ИПР 513-10 | EA | 50
16 | 49.26.231 | S2000-KPB | UNIT, CONTROL AND STARTING | EA | 10
17 | 00.03.543 | UPSHE, TU 48-2400-1-84 | UNIT MINE POWDER EJECTION FIRE SUPPRESSION UNIT (UPSE), TU 48-2400-1-84, FOR UNDERGROUND MINE RESCUE SERVICE, SPECIALIZED FIRE EXTINGUISHING EQUIPMENT | EA | 1
18 | 00.03.544 | GVPP-200 | GENERATOR HIGH-EXPANSION FOAM GVPP-200, FOR UNDERGROUND MINE RESCUE SERVICE, SPECIALIZED FIRE EXTINGUISHING EQUIPMENT | ST | 3
19 | 49.25.166 | 53080 | POWDER, FIRE EXTINGUISHER ABC MULTI PURPOSE AMMONIUM PHOSPHATE PLASTIC PAIL / Порошок FORAY ведро | EA | 30