## Import
RFQ | Line | ItemCode | ItemLongName | SuppItemName | SuppItemCode | Qty | Unit
R29408 | 1 | 20.11.833 | VALVE, PVC-U, FLANGED BALL VALVE, DN50, PN16 | VALVE, PVC-U, FLANGED BALL VALVE, DN50, PN16 | PVCU-BV-DN50-PN16 | 5 | EA
R29408 | 2 | 20.11.834 | VALVE, PVC-U TRUE UNION BALL VALVE, SOLVENT WELD, DN63, PN10 | VALVE, PVC-U TRUE UNION BALL VALVE, SOLVENT WELD, DN63, PN10 | PV-BV-063-010 | 10 | EA
R29408 | 3 | 23.01.001 | BUSHING, BMI 1/4" X 1/8" THREADED | BUSHING, BMI 1/4" X 1/8" THREADED | 0211813 | 20 | EA
R29408 | 4 | 23.01.008 | BUSHING, 1" X 3/4", MALE Х FEMALE NPT THREAD, BLACK MALLEABLE IRON, ASME B16.14 CLASS 150 | BUSHING, 1" X 3/4", MALE Х FEMALE NPT THREAD, BLACK MALLEABLE IRON, ASME B16.14 CLASS 150 | 0211822 | 25 | EA
R29408 | 5 | 23.01.011 | BUSHING, BMI 1 1/2"X 1 | BUSHING, BMI 1 1/2"X 1 | 0211836 | 4 | EA
R29408 | 6 | 23.01.013 | BUSHING, 2" X 1 1/4", MALE Х FEMALE NPT THREAD, BLACK MALLEABLE IRON, ASME B16.14 CLASS 150 | BUSHING, 2" X 1 1/4", MALE Х FEMALE NPT THREAD, BLACK MALLEABLE IRON, ASME B16.14 CLASS 150 | 0211843 | 3 | EA
R29408 | 7 | 23.01.015 | BUSHING REDUCING , 3" X 2", THREADED NPT, ASME B1.20.1, CARBON STEEL | BUSHING REDUCING , 3" X 2", THREADED NPT, ASME B1.20.1, CARBON STEEL | 0211858 | 5 | EA
R29408 | 8 | 23.01.024 | BUSHING, BMI 3/4"X1/4` THREADED | BUSHING, BMI 3/4"X1/4` THREADED | 0211820 | 2 | EA
R29408 | 9 | 23.01.052 | REDUCER, BMI 1/2" X 1/4" THREADED | REDUCER, BMI 1/2" X 1/4" THREADED | 0215279 | 11 | EA
R29408 | 10 | 23.01.057 | REDUCER, 1" X 3/4", FEMALE NPT THREAD, BLACK MALLEABLE IRON, ASME B1.20.1 | REDUCER, 1" X 3/4", FEMALE NPT THREAD, BLACK MALLEABLE IRON, ASME B1.20.1 | 0215414 | 15 | EA
R29408 | 11 | 23.01.076 | COUPLING, 1/4", FEMALE NPT THREAD, BLACK MALLEABLE IRON, ASME B1.20.1 | COUPLING, 1/4", FEMALE NPT THREAD, BLACK MALLEABLE IRON, ASME B1.20.1 | 0214752 | 16 | EA
R29408 | 12 | 23.01.078 | COUPLING, BMI 1/2" THREADED | COUPLING, BMI 1/2" THREADED | 0214795 | 21 | EA
R29408 | 13 | 23.01.180 | ELBOW, 1", 90°, FEMALE NPT THREAD, BLACK MALLEABLE IRON, ASME B1.20.1 | ELBOW, 1", 90°, FEMALE NPT THREAD, BLACK MALLEABLE IRON, ASME B1.20.1 | 0210128 | 74 | EA
R29408 | 14 | 23.01.183 | ELBOW, 2", 90°, FEMALE NPT THREAD, BLACK MALLEABLE IRON, ASME B16.3 CLASS 150 | ELBOW, 2", 90°, FEMALE NPT THREAD, BLACK MALLEABLE IRON, ASME B16.3 CLASS 150 | 0210188 | 44 | EA
R29408 | 15 | 23.01.186 | ELBOW, 3"X90 FPT | ELBOW, 3 INCH X 90 DEGREE FPT TREADED, BMI | 0210226 | 2 | EA
R29408 | 16 | 23.01.189 | ELBOW, 6", 90°, BUTT WELD, SCH 40, ASME B16.9, CARBON STEEL, LONG RADIUS | ELBOW, 6", 90°, BUTT WELD, SCH 40, ASME B16.9, CARBON STEEL | 6860462 | 3 | EA
R29408 | 17 | 23.01.193 | ELBOW, 2", 90°, BUTT WELD, SCH 40, ASME B16.9, CARBON STEEL, LONG RADIUS | ELBOW, 2", 90°, BUTT WELD, SCH 40, ASME B16.9, CARBON STEEL | 6860346 | 21 | EA
R29408 | 18 | 23.01.204 | PLUG, BMI 3/4` | PLUG, 3/4 INCH, BMI | 0211804 | 10 | EA
R29408 | 19 | 23.01.223 | CAP, BMI 2" | CAP, BMI 2" | 0214582 | 10 | EA
R29408 | 20 | 23.01.234 | ELBOW, BMI 1" STREET 90 | ELBOW, BMI 1" STREET 90 | 0211346 | 21 | EA
R29408 | 21 | 23.01.247 | NIPPLE, 1" X 4 1/2"LONG, THREADED, ASME B1.20.1, CARBON STEEL | NIPPLE, 1" X 4 1/2"LONG, THREADED, ASME B1.20.1, CARBON STEEL | 3011569 | 35 | EA
R29408 | 22 | 23.01.249 | NIPPLE, BMI 1" X 5 1/2" | NIPPLE, BMI 1" X 5 1/2" | 3011607 | 29 | EA
R29408 | 23 | 23.01.258 | NIPPLE, BMI 3/8"X CLOSE | NIPPLE, BMI 3/8 INCH X CLOSE 1 INCH LENGTH FNPT | 3010562 | 10 | EA
R29408 | 24 | 23.01.263 | NIPPLE, 1/2" X 2"LONG, THREADED, ASME B1.20.1, CARBON STEEL | NIPPLE, 1/2" X 2"LONG, THREADED, ASME B1.20.1, CARBON STEEL | 3010899 | 14 | EA
R29408 | 25 | 23.01.264 | NIPPLE, BMI 1/2"X4" | NIPPLE, BMI 1/2"X4" | 3010988 | 13 | EA
R29408 | 26 | 23.01.265 | NIPPLE, 1/2" × 6", MALE NPT BOTH ENDS, CARBON STEEL, 150 PSI, ASME B1.20.1 | PIPE NIPPLE, 1/2" × 6", MALE NPT BOTH ENDS, CARBON STEEL, 150 PSI, ASME B1.20.1 | 3011062 | 12 | EA
R29408 | 27 | 23.01.266 | NIPPLE CLOSE, 3/4", LENGTH 1 3/8", SCH-40S,CARBON STEEL, ASTM A733 | NIPPLE CLOSE, 3/4", LENGTH 1 3/8", SCH-40S,CARBON STEEL, ASTM A733 | 3011151 | 22 | EA
R29408 | 28 | 23.01.267 | NIPPLE, 3/4", LENGTH 2", SCH-40S,CARBON STEEL, ASTM A733 | NIPPLE, 3/4", LENGTH 2", SCH-40S,CARBON STEEL, ASTM A733 | 3011194 | 21 | EA
R29408 | 29 | 23.01.270 | NIPPLE CLOSE, 1", LENGTH 1 1/2", SCH-40S,CARBON STEEL, ASTM A733 | NIPPLE CLOSE, 1", LENGTH 1 1/2", SCH-40S,CARBON STEEL, ASTM A733 | 3011445 | 51 | EA
R29408 | 30 | 23.01.274 | NIPPLE, 1 1/4" X CLOSE, MALE NPT BOTH ENDS, CARBON STEEL, 150 PSI, ASME B1.20.1 | PIPE NIPPLE, 1-1/4" × CLOSE, MALE NPT BOTH ENDS, CARBON STEEL, 150 PSI, ASME B1.20.1 | 3011755 | 7 | EA
R29408 | 31 | 23.01.278 | NIPPLE, BMI 1 1/2" X CLOSE | NIPPLE, BMI 1 1/2" X CLOSE | 3012034 | 19 | EA
R29408 | 32 | 23.01.281 | NIPPLE, 1-1/2" × 6", MALE NPT BOTH ENDS, CARBON STEEL, 150 PSI, ASME B1.20.1 | PIPE NIPPLE, 1-1/2" × 6", MALE NPT BOTH ENDS, CARBON STEEL, 150 PSI, ASME B1.20.1 | 3041034 (1-1/2"X6" XH BLK SML | 32 | EA
R29408 | 33 | 23.01.287 | NIPPLE, BMI 2 1/2"X 6" | NIPPLE, BMI 2 1/2"X 6" (USED ON PROCESS LINES AND VALVES) | 3012735 | 3 | EA
R29408 | 34 | 23.01.307 | NIPPLE, BMI 2"KING, STAINLESS STEEL | NIPPLE, BMI 2"KING | 7152599 | 60 | EA
R29408 | 35 | 23.01.308 | NIPPLE, 3"X 3"BMI NPT | NIPPLE, 3"X 3"BMI NPT | 3012832-NIPPLE | 5 | EA
R29408 | 36 | 23.01.336 | NIPPLE, 3" X 6" LONG, THREADED, ASME B1.20.1, CARBON STEEL | NIPPLE, 3" X 6" LONG, THREADED, ASME B1.20.1, CARBON STEEL | 3012956 | 4 | EA
R29408 | 37 | 23.01.400 | U-BOLT, SIZE 1" WITH PLATE AND HEX NUTS | U-BOLT, SIZE 1" WITH PLATE AND HEX NUTS | DNL 65143 | 95 | EA
R29408 | 38 | 23.01.401 | U-BOLT 2" – INCLUDES PLATE AND HEX NUTS, CARBON STEEL, ASME B18.31.5 | U-BOLT 2" – INCLUDES PLATE AND HEX NUTS, CARBON STEEL, ASME B18.31.5 | DNL 65149 | 122 | EA
R29408 | 39 | 23.01.577 | REDUCER, CONCENTRIC 4" X 2" BUTTWELD SCH40 | REDUCER, CONCENTRIC 4" X 2" BUTTWELD SCH40 /CARBON STEEL | 6863372 | 20 | EA
R29408 | 40 | 23.01.601 | REDUCER, CONCENTRIC 6" X 3" STD CONC WELD RED WPB | REDUCER, CONCENTRIC 6" X 3" STD CONC WELD RED WPB | 6863585 | 2 | EA
R29408 | 41 | 23.01.610 | FLANGE, 3" WELD NECK RAISED FACE #150 | FLANGE, 3" WELD NECK RAISED FACE #150 | 6873993' | 5 | EA
R29408 | 42 | 23.04.024 | FLANGE, 3" SLIP ON RAISED FACE # 150 | FLANGE, 3" SLIP ON RAISED FACE # 150 | 6590Z23.04.024 / 6875198 | 6 | EA
R29408 | 43 | 23.04.046 | FLANGE, 6'' WELD NECK RAISED FACE #150, SCH 40, THIN WALL | FLANGE, 6`` WELD NECK RAISED FACE #150, SCH 40, THIN WALL | 6874051 | 2 | EA
R29408 | 44 | 23.04.101 | FLANGE, 2` SLIP ON RAISED FACE CARBON STEEL 300# | FLANGE, 2` SLIP ON RAISED FACE CARBON STEEL 300# | 6590Z23.04.101 | 2 | EA
R29408 | 45 | 23.04.200 | FLANGE, 2" THREADED RAISED FACE #150 | FLANGE, 2" THREADED RAISED FACE #150 | 6875465 | 8 | EA
R29408 | 46 | 23.06.000 | CAMLOCK COUPLING, TYPE E, 2", HOSE SHANK X MALE ADAPTER, ALUMINUM, 250 PSI, STANDARD A-A-59326D | CAMLOCK COUPLING, TYPE E, 2", HOSE SHANK X MALE ADAPTER, ALUMINUM, 250 PSI, STANDARD A-A-59326D | DXN 200-E-AL | 14 | EA
R29408 | 47 | 23.06.002 | COUPLING, 2" MALE PIPE THREAD X MALE | COUPLING, 2" PART F AL 2" ADAPTER MALE NPT X MALE ADAPTER | QC-F-AL-0200-C | 9 | EA
R29408 | 48 | 23.06.005 | COUPLING, 2" FITTING, CAMLOCK COUPLER; TYPE C; 2 INCH FEMALE CAMLOCK X 2 INCH HOSE SHANK; ALUMINUM; QUICK CONNECT/DISCONNECT; FOR FLUID TRANSFER | COUPLING, 2" FITTING, CAMLOCK COUPLER; TYPE C; 2 INCH FEMALE CAMLOCK X 2 INCH HOSE SHANK; ALUMINUM; QUICK CONNECT/DISCONNECT; FOR FLUID TRANSFER | 513002000056 | 7 | EA
R29408 | 49 | 23.06.021 | COUPLING, 3"HOSE X MALE | COUPLING, 3"HOSE X MALE, OEM#QC-E-AL-0300-C | QC-E-AL-0300-C/513003000073 | 6 | EA
R29408 | 50 | 23.06.029 | COUPLING, 4'' HOSE X MALE KAMLOCK | COUPLING, 4`` HOSE X MALE KAMLOCK (QC-E-AL-0400-C) | 513004000080 | 4 | EA
R29408 | 51 | 23.06.702 | COUPLING, HOSE 1` 316 SS MPT END | COUPLING, HOSE 1` 316 SS MPT END | DIX RAM12 | 90 | EA
R29408 | 52 | 23.06.703 | UNIVERSAL AIR HOSE COUPLING, 1", MALE HOSE END X MALE NPT THREAD, CARBON STEEL WITH ZINC COATING, 150 PSI, STANDARD ASME B1.20.1 | UNIVERSAL AIR HOSE COUPLING, 1", MALE HOSE END X MALE NPT THREAD, CARBON STEEL WITH ZINC COATING, 150 PSI, STANDARD ASME B1.20.1 | DXN AM-12 | 26 | EA
R29408 | 53 | 23.06.704 | GASKET, RUBBER | GASKET,RUBBER FOR CHICAGO COUPLING (OLD#DIX AWR4) | CLK UG2R | 43 | EA
R29408 | 54 | 23.06.707 | COUPLING UNIVERSAL AIR HOSE (CHICAGO), 3/4", 2-LUG × MALE NPT THREAD, CARBON STEEL WITH ZINC COATING, NBR GASKET, 150 PSI, STANDARD A-A-59553 | COUPLING UNIVERSAL AIR HOSE (CHICAGO), 3/4", 2-LUG × MALE NPT THREAD, CARBON STEEL WITH ZINC COATING, NBR GASKET, 150 PSI, STANDARD A-A-59553 | DXN AM-7 | 150 | EA
R29408 | 55 | 23.06.709 | COUPLING, HOSE 3/4" 2 LUG 316 SS HOSE SHANK END 316 SS | CHICAGO COUPLING, HOSE, 3/4 INCH, 2 LUG, 316 S.S., HOSE SHANK END (OEM #AM-6 316 SS) | DXN RAM6 / AM-6 316 SS | 10 | EA
R29408 | 56 | 23.08.053 | ELBOW UNION, TUBE FITTING, 3/8", STAINLESS STEEL, SWAGELOK | ELBOW UNION, TUBE FITTING, 3/8", STAINLESS STEEL, SWAGELOK PN SS-600-9 | SS-600-9 / CLA6-S316 | 3 | EA
R29408 | 57 | 23.08.060 | VALVE, 3/8"SS TUBE FITTING BALL | SWAGELOK PN SS-43GS6 / DESCRIPTION VALVE, 3/8"SS TUBE FITTING BALL. HY-LOK PN B2VH6T-S316 / 3/8" SS316L 2 WAY COMPRESSION END INSTRUMENT BALL VALVE 3000PSI | SS-43GS6 / B2VH6T-S316 / H-3BV | 8 | EA
R29408 | 58 | 23.08.061 | VALVE, BALL, 1/4" FEMALE NPT THREAD, STAINLESS STEEL 316, SWAGELOK, ASME B1.20.1 | VALVE, BALL, 1/4" FEMALE NPT THREAD, STAINLESS STEEL 316, SWAGELOK, ASME B1.20.1 | SS-43GF4 | 6 | EA
R29408 | 59 | 23.08.067 | TEE, RUN 3/8` MALE SS | TEE, RUN 3/8` MALE SS / 3/8" SS316L MALE RUN TEE MALE NPT THREAD END | 7130653 / ICTF24 | 1 | EA
R29408 | 60 | 23.08.583 | FERRULE, 1/2" SS | FERRULE, 1/2" SS. SWAGELOK PN SS-810-SETS / Ferrule Set 1/2" Slok, Sold in Multiples of 10 | SS-810-SETS | 20 | EA
R29408 | 61 | 23.08.596 | CONNECTOR, 1/4" X 1/4" MALE SS | SWAGELOK PN S-400-1-4 / DESCRIPTION Male Connector 1/4"" Slok - 1/4"" NPTm. HY-LOK # CMC44N-S316 / SS 1/4"" x 1/4"" MNPT Connector HAITIMA MALE CONNECTOR SS316, 1/4`` X 1/4``, NPT | S-400-1-4 / CMC44N-S316 | 15 | EA
R29408 | 62 | 23.08.602 | CONNECTOR, MALE FTUBE-MPT, 1/2" X 1/4", STAINLESS STEEL 316, ASME B1.20.1 | CONNECTOR, MALE FTUBE-MPT, 1/2" X 1/4", STAINLESS STEEL 316, ASME B1.20.1 | SS-810-1-4 | 15 | EA
R29408 | 63 | 23.08.614 | ELBOW, 3/8"X 1/4" NPT MALE SS | ELBOW, 3/8"X 1/4" NPT MALE SS | SS-600-2-4 | 5 | EA
R29408 | 64 | 23.08.653 | TEE, UNION 3/8` SS | SWAGELOK PN SS-600-3 / DESCRIPTION Union Tee 3/8"" Slok. HY-LOK # CTA6-S316 / SS 3/8"" Union Tee HAITIMA 3/8" X 3/8"X 3/8" SS316L UNION TEE | SS-600-3 / CTA6-S316 / ICTF27 | 2 | EA
R29408 | 65 | 23.08.654 | TEE, UNION 1/2" SS | TEE, UNION 1/2" SS | SS-810-3 | 16 | EA
R29408 | 66 | 23.08.742 | ELBOW, 1/2", 90°, MALE Х FEMALE NPT THREAD, SS316, ASME B1.20.1 | ELBOW, 1/2", 90°, MALE Х FEMALE NPT THREAD, SS316, ASME B1.20.1 | SKN SS-8-SE | 3 | EA
R29408 | 67 | 23.10.331 | PIPE, PVC-U PIPE, DN63, 6 M LENGTH, PN10 | PIPE, PVC-U PIPE, DN63, 6 M LENGTH, PN10 | PV-PIP-063-6M10 | 10 | EA
R29408 | 68 | 23.25.025 | COUPLING, PVC 4" STRAIGHT SCH 80 SW | Муфта ПВХ 4 Дюйма, SCH 80 STRAIGHT SW / COUPLING, PVC 4" STRAIGHT SCH 80 SW | 0592390 | 3 | EA
R29408 | 69 | 23.25.155 | FLANGE, 2` PVC 150# SOCKET WELD SCH 80 | FLANGE, 2` PVC 150# SOCKET WELD SCH 80 | 0594024 | 2 | EA
R29408 | 70 | 23.25.346 | TEE, PVC-U, SOLVENT CEMENT TEE, GREY, ID 63 MM, PN10 | TEE, PVC-U, SOLVENT CEMENT TEE, GREY, ID 63 MM, PN10 | PVCU-TEE-063-PN10 | 10 | EA
R29408 | 71 | 23.25.347 | TEE, PVC-U, SOLVENT CEMENT TEE, GREY, ID 32 MM, PN10 | TEE, PVC-U, SOLVENT CEMENT TEE, GREY, ID 32 MM, PN10 | PVCU-TEE-032-PN10 | 10 | EA
R29408 | 72 | 23.25.348 | ELBOW, PVC-U, 90° ELBOW, ID 63 MM, SOLVENT CEMENT CONNECTION | ELBOW, PVC-U, 90° ELBOW, ID 63 MM, SOLVENT CEMENT CONNECTION | PVCU-EL90-063-PN10 | 10 | EA
R29408 | 73 | 23.25.349 | FLANGE, PVC-U, FLANGE, DN50 (ID 63 MM), PN10, SOLVENT SOCKET TYPE | FLANGE, PVC-U, FLANGE, DN50 (ID 63 MM), PN10, SOLVENT SOCKET TYPE | PVCU-FLG-DN50-PN10 | 10 | EA
R29408 | 74 | 23.25.350 | UNION, PVC-U, UNION, SOLVENT CEMENT TYPE, DN20 | UNION, PVC-U, UNION, SOLVENT CEMENT TYPE, DN20 | PVCU-UNION-DN20 | 10 | EA
R29408 | 75 | 23.25.351 | ADAPTER, PVC-U ADAPTER: 1/2" NPT MALE THREAD × SOLVENT SOCKET FOR Ø25 MM PIPE | ADAPTER, PVC-U ADAPTER: 1/2" NPT MALE THREAD × SOLVENT SOCKET FOR Ø25 MM PIPE | PVCU-ADP-MNPT12-025 | 5 | EA
R29408 | 76 | 23.25.352 | ELBOW, PVC-U ELBOW 90°, SOLVENT WELD, DN63, PN10 | ELBOW, PVC-U ELBOW 90°, SOLVENT WELD, DN63, PN10 | PV-EL90-063-010 | 20 | EA
R29408 | 77 | 23.25.353 | ELBOW, PVC-U ELBOW 45°, SOLVENT WELD, DN63, PN10 | ELBOW, PVC-U ELBOW 45°, SOLVENT WELD, DN63, PN10 | PV-EL45-063-010 | 10 | EA
R29408 | 78 | 23.25.354 | ADAPTER, PVC-U FEMALE THREAD ADAPTER, BSP G2" × DN63 SOLVENT WELD, PN10 | ADAPTER, PVC-U FEMALE THREAD ADAPTER, BSP G2" × DN63 SOLVENT WELD, PN10 | PV-FTA-063-G2 | 30 | EA
R29408 | 79 | 23.25.355 | ADAPTER, PVC-U FEMALE THREAD ADAPTER, BSP 3" × DN63 SOLVENT WELD, PN10 | ADAPTER, PVC-U FEMALE THREAD ADAPTER, BSP 3" × DN63 SOLVENT WELD, PN10 | PV-FTA-063-B3 | 10 | EA
R29408 | 80 | 23.25.356 | COUPLING, PVC-U COUPLING, SOLVENT WELD, DN63, PN10 | COUPLING, PVC-U COUPLING, SOLVENT WELD, DN63, PN10 | PV-CPL-063-010 | 30 | EA
R29408 | 81 | 23.25.357 | TEE, PVC-U EQUAL TEE, SOLVENT WELD, DN63, PN10 | TEE, PVC-U EQUAL TEE, SOLVENT WELD, DN63, PN10 | PV-TEE-063-010 | 20 | EA
R29408 | 82 | 23.25.358 | UNION, PVC-U UNION, SOLVENT WELD, DN63, PN10 | UNION, PVC-U UNION, SOLVENT WELD, DN63, PN10 | PV-UNI-063-010 | 10 | EA
R29408 | 83 | 23.25.359 | ADAPTER, PVC-U FLANGE ADAPTER, SOLVENT WELD, DN63, PN10 | ADAPTER, PVC-U FLANGE ADAPTER, SOLVENT WELD, DN63, PN10 | PV-FLA-063-010 | 5 | EA
R29408 | 84 | 24.01.656 | SLEEVE, COMPRESSION 3/16" TUBE 60X3 | SLEEVE, BRASS COMPRESSION 3/16" TUBE 60X3 | FRV 60-3 | 60 | EA
R29408 | 85 | 24.01.666 | UNION, COMPRESSION 3/16" TUBE 62X3 | UNION, BRASS COMPRESSION 3/16" TUBE 62X3 | FRV 62-3 | 60 | EA
R29408 | 86 | 24.01.667 | UNION, COMPRESSION 1/4" TUBE 62X4 | COMPRESSION UNION, 1/4 TUBE, WEATHERHEAD 62X4 (MOQ 10 PCS) | FRV 62-4 | 60 | EA
R29408 | 87 | 24.01.680 | CONNECTOR, MALE 3/16 TUBE TO 1/8 MPT COMPRESSION 68X3 | CONNECTOR, MALE 3/16 TUBE TO 1/8 MPT COMPRESSION 68X3 | FAR 68-3A | 50 | EA
R29408 | 88 | 24.01.758 | COUPLING, 1/4" NPT 3300X4 | COUPLING, 1/4" NPT 3300X4 | 3300X4 | 50 | EA
R29408 | 89 | 26.00.208 | FLANGE, 1/2" HOSE NIPPLE FOR GOODALL LITE-FLEX HOSE | FLANGE, 1-1/2" HOSE NIPPLE FOR GOODALL LITEFLEX HOSE | FHN-150 | 2 | EA
R29408 | 90 | 26.00.222 | NIPPLE, FLANGED HOSE, 2", STAINLESS STEEL 316, ANSI B16.5 CLASS 150 | NIPPLE, FLANGED HOSE, 2", STAINLESS STEEL 316, ANSI B16.5 CLASS 150 | FHN-200-SS | 10 | EA
R29408 | 91 | 26.00.255 | NIPPLE,1 1/4` STAINLESS STEEL KING | KING NIPPLE, 1-1/4 INCH, S.S. | XRST15 | 3 | EA
R29408 | 92 | 26.00.256 | NIPPLE, KING COMBINATION HOSE, 1‑1/2" HOSE SHANK × 1‑1/2" MALE NPT, STAINLESS STEEL 316 (DIXON RST20), ASME B1.20.1 | NIPPLE, KING COMBINATION HOSE, 1 1/2" HOSE SHANK × 1 1/2" MALE NPT, STAINLESS STEEL 316 (DIXON RST20), ASME B1.20.1 | XRST20 | 14 | EA
R29408 | 93 | 26.00.258 | NIPPLE, 3`STAINLESS STEEL KING | NIPPLE, 3" STAINLESS STEEL KING | XRST35 | 30 | EA
R29408 | 94 | 26.00.265 | FLANGE, 2` 316 SS 150#, BLIND, RF | FLANGE, BLIND, RAISED FACE, STAINLESS STEEL 316, 2 INCH, CLASS 150# | 7625529 | 3 | EA
R29408 | 95 | 26.00.276 | ELBOW, 1-1/2` X 45 DEG, SS 150# SW | ELBOW, 1-1/2` X 45 DEG, SS 150# SW |  | 2 | EA
R29408 | 96 | 26.00.290 | FLANGE, 1/2", RAISED FASE, SOCET WELD, SS316, ASME B16.5 CLASS 150 | FLANGE, 1/2", RAISED FASE, SOCET WELD, SS316, ASME B16.5 CLASS 150 | 7625596 | 3 | EA
R29408 | 97 | 26.00.292 | FLANGE, 1" SOCKET WELD, RAISED FACE, CLASS 150, ASME B16.5, STAINLESS STEEL 304 | FLANGE, 1" SOCKET WELD, RAISED FACE, CLASS 150, ASME B16.5, STAINLESS STEEL 304 | 7625586 | 4 | EA
R29408 | 98 | 26.00.426 | NIPPLE, HYDRAULIC STRAIGHT ADAPTER NIPPLE, MALE NPTF 1-1/4" THREAD × MALE M52×2 DIN 2353 THREAD (S-SERIES, FOR Ø38 MM TUBE), ZINC-PLATED STEEL, FOR BALL MILL LUBRICATION SYSTEM., OEM# 73016S-20-38 | NIPPLE, HYDRAULIC STRAIGHT ADAPTER NIPPLE, MALE NPTF 1-1/4" THREAD × MALE M52×2 DIN 2353 THREAD (S-SERIES, FOR Ø38 MM TUBE), ZINC-PLATED STEEL, FOR BALL MILL LUBRICATION SYSTEM., OEM# 73016S-20-38 | 73016S-20-38 | 5 | EA
R29408 | 99 | 26.00.427 | TEE DN 159 MM, WALL THICKNESS 4.5 MM, STEEL, WELD-ON, GOST 17376, FOR STEAM PIPELINE | TEE DN 159 MM, WALL THICKNESS 4.5 MM, STEEL, WELD-ON, GOST 17376, FOR STEAM PIPELINE | SP-TEE-DN159-WT4.5-WD | 2 | EA
R29408 | 100 | 26.00.428 | TEE, SEAMLESS STEEL DN25 (32.5 × 3.2 MM), STEEL 20, GOST 17376-2001, FOR STEAM PIPELINE | TEE, SEAMLESS STEEL DN25 (32.5 × 3.2 MM), STEEL 20, GOST 17376-2001, FOR STEAM PIPELINE | SP-TEE-DN25-S32.5X3.2-M20 | 2 | EA
R29408 | 101 | 26.00.429 | ELBOW, SEAMLESS STEEL, 90° DN25 (32.5 × 3.2 MM), STEEL 20, GOST 17375-2001, FOR STEAM PIPELINE | ELBOW, SEAMLESS STEEL, 90° DN25 (32.5 × 3.2 MM), STEEL 20, GOST 17375-2001, FOR STEAM PIPELINE | SP-E90-DN25-S32.5X3.2-M20 | 8 | EA
R29408 | 102 | 26.00.430 | ELBOW, SEAMLESS STEEL, 45° DN25 (32.5 × 3.2 MM), STEEL 20, GOST 17375-2001, FOR STEAM PIPELINE | ELBOW, SEAMLESS STEEL, 45° DN25 (32.5 × 3.2 MM), STEEL 20, GOST 17375-2001, FOR STEAM PIPELINE | SP-E45-DN25-S32.5X3.2-M20 | 4 | EA
R29408 | 103 | 26.00.431 | COUPLING, THREADED STEEL, DN25, GOST 8966-75, FOR STEAM PIPELINE | COUPLING, THREADED STEEL, DN25, GOST 8966-75, FOR STEAM PIPELINE | SP-CP-DN25-THD-M20 | 2 | EA
R29408 | 104 | 26.00.432 | FLANGE FLAT WELDING NECK STEEL DN25, PN25, TYPE 01, ROW 1, GOST 33259-2015, STEEL 20, FOR STEAM PIPELINE | FLANGE FLAT WELDING NECK STEEL DN25, PN25, TYPE 01, ROW 1, GOST 33259-2015, STEEL 20, FOR STEAM PIPELINE | SP-FL-DN25-PN25-M20 | 2 | EA
R29408 | 105 | 26.00.433 | COUPLING, GALVANIZED STEEL COUPLING, FEMALE BSP THREAD 3" | COUPLING, GALVANIZED STEEL COUPLING, FEMALE BSP THREAD 3" | GS-CPL-F3-BSP | 10 | EA
R29408 | 106 | 26.00.434 | COUPLING, GALVANIZED STEEL COUPLING, FEMALE BSP THREAD G2" | COUPLING, GALVANIZED STEEL COUPLING, FEMALE BSP THREAD G2" | GS-CPL-F2-BSP | 30 | EA
R29408 | 107 | 90.55.611 | NIPPLE, HEX PIPE, HYDRAULIC FITTING, 3/4"-3/4" BSPT | NIPPLE, HEX PIPE, HYDRAULIC FITTING, 3/4"-3/4" BSPT |  | 8 | EA