## Lot 1
Line | Qty | ItemCode | Unit | LongName | ItemCode
1 | 3 | 50.01.768 | EA | HEATER, 220 V, 5 KW UNIT | GE053C-001
2 | 3 | 55.10.000 | EA | ELEMENT, CALORITECH HEATING 400V 3PH 12KW | CXC3120P25
3 | 2 | 90.55.422 | EA | MOTOR, FAN, SER 053176M, MOD DB2J025K#, VOLTS 380-400-415, HZ 50, AMPS 1.3, RPM 1300, SP, PH, CAP BRG BLL E49807. OEM#32260 | B11059-05
4 | 16 | 50.15.664 | EA | ELEMENT, REPLACEMENT 20 KW.UNIT HEATER 37 A 480 V10 KW | KXF1100837

## Lot 2
Line | Qty | ItemCode | Unit | LongName | ItemCode
1 | 70 | 73.18.268 | EA | POWER SUPPLY UNIT HVG-480W-36VDC – (INPUT 180- 528VAC), DUAL OUTPUT WITH QUICK-CONNECT “FEMALE” CONNECTORS | HVG-480W-36VDC – (INPUT 180- 528VAC)
2 | 2520 | 73.18.266 | MT | STRIP LED LIGHT X-GLO, PVC, X-GLO-66-36VDC , STANDARD LENGTH 42 M | X-GLO-66-36VDC
3 | 10 | 73.18.267 | EA | POWER SUPPLY UNIT X-GLO PS-300W-C-480VAC/36VDC, DUAL OUTPUT WITH QUICK-CONNECT “FEMALE” CONNECTORS | X-GLO PS-300W-C-480VAC/36VDC
4 | 100 | 73.18.269 | EA | CONNECTOR KIT WITHOUT END CAP X-GLO-SFCK (SNAP FRONT END CONNECTOR KIT WITHOUT END CAP) “FEMALE-FEMALE” | X-GLO-SFCK

## Lot 3
Line | Qty | ItemCode | Unit | LongName | ItemCode
1 | 248 | 15.00.067 | MT | CABLE, HEATING, SELF -REGULATING , 230V, 25 W/NAT 10°C, 8BTV2-CT | 8BTV2-CT
2 | 5 | 50.15.036 | KT | REPAIR KIT, OUTDOOR HEAT SHRINK CABLE TERMINATION | HVT-1592-SG
3 | 24 | 50.52.114 | KT | REPAIR KIT, HEAT TRACE TERMINATION C/W JUNCTION BOX | JBS-100-E

## Lot 4
Line | Qty | ItemCode | Unit | LongName | ItemCode
1 | 1 | 00.03.628 | EA | DETECTOR VOLTAGE , SALISBURY 4544 NCV 230KV SELF-TESTING VOLTAGE DETECTOR (AUDIO/ VISUAL) MODEL 4544, FOR MILL ELE, OEM# SAL-4544 | SAL-4544
2 | 2 | 00.03.630 | EA | PANEL FIRE PUMP MOTOR CONTROL PANEL, ZENOVA SEN 80-250/450 45 KW (SHUN/V-45-00-PCH-R3 RUBEZH) | SHUN/V-45-00-PCH-R3 RUBEZH
3 | 80 | 00.03.631 | MT | CABLE ARMORED POWER WITH COPPER CONDUCTORS, FIRE-RESISTANT AND LOW-SMOKE EMISSION 5Х35 ММ VVG NG (А)-FRLS-0,66 (GOST 31996-2012) | 5Х35 ММ VVG NG (А)-FRLS-0.66
4 | 40 | 00.03.632 | MT | CABLE ARMORED POWER CABLES WITH COPPER CONDUCTORS, FIRE-RESISTANT AND LOW-SMOKE EMISSION 7Х0,75MM КВЭБШВНГ (А)-FRLS-0,66 (GOST 31996-2012) | 7Х0,75MM КВЭБШВНГ (А)-FRLS-0.66
5 | 40 | 00.03.634 | EA | TERMINAL COPPER FOR POWER CABLES TML-35-10-12 | TML-35-10-12
6 | 30 | 00.03.635 | EA | HEAT SHRINK FLAME-RETARDANT, LOW-SMOKE HEAT-SHRINK TUBING (TUT NG-LS-20/10MM) FOR 5-CORE WIRE SECTIONS (COLORS: YELLOW, GREEN, RED, BLUE, YELLOW-GREEN) | NG-LS-20/10MM
7 | 2 | 00.03.691 | EA | BOARD MTU CCB2-03/A ENGINE CONTROL SYSTEM INTERFACE BOARD (CASSETTE, SLOT 3), P/N X00E50200003 | X00E50200003
8 | 2 | 50.01.865 | EA | PHOTOSENSOR, PHOTOCELL QRB3-ERD3, FOR U3VTUS BURNER OF ORE-THERMAL FURNACES, ITEM 29, DRAWING# 152 13 10 39, OEM# PHOTOCELL QRB3 ERD3 | PHOTOCELL QRB3 ERD3
9 | 100 | 50.02.469 | EA | TERMINAL WDU-35 FEED-THROUGH TERMINAL BLOCK, SCREW CONNECTION, DARK BEIGE, 35 MM², 125 A, 1000 V, NUMBER OF CONNECTIONS: 2 | HWA-WDM-JUMPER-35-3
10 | 4 | 50.05.069 | EA | PATCH CORD, 1M, SC-SC MULTIMODE, RUGGEDIZED, 50/125 | FLP_SC-SC_1000MM_MM
11 | 8 | 50.05.085 | EA | FIBER OPTIC PATCH CORD ST/UPC-ST/UPC DUPLEX 3.0MM LENGTH 11M OEM# ST/UPC-ST/UPC MM OM3(50/125) LENGTH - 11M | ST/UPC-ST/UPC MM OM3
12 | 2 | 50.15.849 | EA | CONTROLLER TEMPERATURE FOR THREE-PHASE ELECTRIC HEATERS REGIN TTS25 | REGIN TTS25
13 | 3 | 50.15.851 | EA | COIL CONTROL CLOSE 110 VDC FOR SCHNEIDER HVX 12-25-06/KE210 CIRCUIT BREAKER, DC110V, FOR FOR MILL DG, OEM# CHD8000080R0104 | CHD8000080R0104
14 | 30 | 50.31.218 | EA | TUBE, FLUORESCENT LAMP T5, 6500K, G5, 220V, 14W/865, LENGTH 549MM, DIAMETER 16MM | LAMP T5, 6500K, G5
15 | 17 | 50.38.718 | ST | RECEPTACLE, SINGLE 220 V EUROPLUG KUPP BRAND C/W SURFACE MOUNT COVER | 069570L + 069651L
16 | 20 | 50.52.321 | EA | INSULATOR, INDOOR (PART OF 50.52.320) | IOR-10-3.75 (65*130мм), 10 кВ
17 | 10 | 50.52.399 | EA | PANEL HIGH VOLTAGE JUNCTION BOX P/N: TFJB-36KV VOLTAGE UP TO 36 KV, CURRENT UP TO 312 A, THREE-PHASE CONNECTION WITH BOTTOM CABLE ENTRY, DTS-01 TEST BOX, HEAVY-DUTY HINGED COVER, ONE CONNECTOR PER PHASE | TFJB-36KV
18 | 5 | 50.52.400 | EA | CONTROL MODULE ASM-M3, ARKTOS, ID 50687 | ASM-M3, ARKTOS, ID 50687
19 | 20 | 60.01.720 | EA | GASKET, 12" FLANGE | NEO2-12''
20 | 2 | 73.18.010 | EA | BLOCK, POWER, SPLITTER CABLE CONNECTIONS | 8-10322 (OLD #PDB-22-350-3)
21 | 1 | 73.18.066 | EA | BREAKER, 250A 3 PHASE WITH TRIP UNIT | KD3400FS C/W KT3250T
22 | 3 | 73.18.153 | EA | TAPE, WHITE PHASING | 2A228+A20:F23

## Lot 5
Line | Qty | ItemCode | Unit | LongName | ItemCode
1 | 15 | 78.18.241 | EA | CONNECTOR, CORD , STRAIN RELIEF | 7TBD105240R0025
2 | 1 | 81.01.009 | EA | IMPELLER, FAN IMPELLER, OEM# 4421RK, FOR EXHAUST FAN BAI200L4U1 - TAU | 4421RK
3 | 1 | 87.02.033 | EA | FAN, VENTILATION, MODEL CNW 200,REPLACEMENT MK 10767,ARR 10,CFM 1000,SP IN 3.75,RPM 2420,BHP 1.20,OV 2941,CASING:FRP,IMPELLER:FRP | CNW 200
4 | 50 | 78.18.201 | EA | SPLICE, MAGNALUG 4/0 | GRO 84-9223
5 | 31 | 50.02.007 | EA | BREAKER CURCUIT, TYPE C, 63AMP, 3P MCB EMCH 363 | FAZ-C63/3 10KA
6 | 4 | 50.52.022 | EA | SWITCH, 3 POSITION SELECTOR COMPLETE WITH LATCH, NO SUBSTITUTE | 800FP-SM32 + 800F-ALP
7 | 3 | 81.00.063 | EA | CONTACTOR MOTOR PUMP 1 & FOR NEW HYDRAULIC HAMMER OEM LC1D115 V7 | LC1D115 V7
8 | 10 | 15.00.073 | KT | CONNECTION KIT, CS-150-2.5-PI | CS-150-2.5-PI
9 | 33 | 50.02.005 | EA | BREAKER CURCUIT, TYPE C, 20АMP, 2P, | A9F89220
10 | 7 | 50.38.742 | EA | CONNECTOR POWER TOPXTRA63A5P6H400V IP67 | 14212
11 | 3 | 50.01.525 | EA | BREAKER CURCUIT, 3 POLE 50 AMP, 480 VOLT TYPE ED N 4 | ED63B050
12 | 7 | 50.01.541 | KT | REPAIR KIT, CONTACT SIZE6 FURNAS STARTER | 9160CF
13 | 3 | 50.01.668 | EA | BREAKER, 400A 3P | CKD3400F+KES3400LSI
14 | 326 | 50.02.419 | EA | CONNECTOR, TECK 3C#12 | STO-50-465
15 | 3 | 50.15.646 | EA | HEATER, FAN FORCED ELECTRIC 208/240 VOLTS, 1500/2000 WATTS 50/60 HZ | AWF2002TW
16 | 5 | 50.15.650 | EA | THERMODISC, CONTROL | B11043-02
17 | 36 | 78.18.268 | EA | LUG, COPPER ONE HOLE LUG, WIRE SIZE 3/0 AWG, 1/2 IN BOLT SIZE | 54165BS
18 | 3 | 73.18.057 | EA | BREAKER, 600A WITH TRIP UNIT, #LD3600F (FRAME) +LES36000LS (TRIP) + A6LES600TI (RATING RING) + 3TR60 (LUG K) | LD3600T33W
19 | 3 | 50.01.630 | EA | WIRENUT, SPRING CONNECTOR BLUE/GRAY POUCH 50 PCS | 3M B/G+POUCH
20 | 30 | 50.31.081 | EA | LAMP, INDICATING 24V TELEPHONE SLIDE Y-2 | 24X
21 | 21 | 50.31.123 | EA | LUG, ONE HOLE , LONG BARREL, 300MCM 3/8"BOLTSIZE | ILSCO# CLNS300-38
22 | 1 | 50.31.159 | PK | FERRULE, BOOT LACE , 10 AWG X 12MM ( PIN LENGTH)1 PK=100EA | 157-1266

## Lot 6
Line | Qty | ItemCode | Unit | LongName | ItemCode
1 | 4 | 73.18.022 | EA | BREAKER, WITH KT3250 TRIP UNIT | KD3400FS 250A + UVR
2 | 5 | 73.18.023 | EA | BREAKER, WITH KT3225 TRIP UNIT | KD3400FS 225A
3 | 4 | 78.18.208 | EA | CONNECTOR, BLACK , MALE 2/0, SINGLE PILOT CONTACT | SMS 8346-201
4 | 4 | 78.18.210 | EA | CONNECTOR, BLACK , FEMALE 2/0 | SMS 8346-101/2
5 | 1 | 90.55.568 | ST | COUPLING SET (3 PCS), MAGNALOY, FOR TYRONE PUMP MODEL 400 (CONSIST OF HUB #M400M4212, HUB #M40002406 AND INSERT #M470 | 3-1-21
6 | 30 | 50.01.978 | EA | HEATER CONVECTOR, ELECTRIC 1500 VAT, NOIROT SPOT E-3 PLUS 1500 | SPOT E-3 PLUS 1500
7 | 700 | 50.01.985 | MT | CABLE,PVS, 3 C/2,5 MM (GOST 7399-97) | ПВС 3*2.5 MM
8 | 3 | 50.15.662 | EA | FAN, 230V 50HZ 160MM AXIAL FLOW | W2S130-AA03-49
9 | 1 | 50.05.047 | EA | MODULE, 16 DI, 16 DO CHANNELS - GROUP ISOLATED. FBM239. | RH927AG (31H-2S239)
10 | 150 | 50.52.153 | EA | ADAPTER, ELECTRICAL 16 AMP 250V | 52658
11 | 5 | 50.03.834 | MT | HEAT SHRINK WITH ADHESIVE 20 MM, 1 EA-1 METER
12 | 10 | 15.00.005 | EA | LAMP, WALL LAMP WITH LAMPSHADE 70160/1 VEGGA, E14 (MANUFACTURER EUROSVET) | 70160/1 CHROME
13 | 12 | 50.05.029 | EA | PATCH CORD, ORANGE, LC-LC. LENGTH 0,25MT | RH972ZQ
14 | 12 | 50.05.071 | EA | PATCH CORD, 5M, ST-SC MULTI-MODE RUGGEDIZED, PURPLE | SC/UPC-ST/UPC MM OM3 50/125 5M
15 | 10 | 50.05.072 | EA | PATCH CORD, 11M, ST-SC MULTI-MODE RUGGEDIZED, PURPLE | SC/UPC-ST/UPC MM OM3 50/125 11M
16 | 5 | 50.01.550 | EA | STARTER, GV2ME16 TESYS POWER 034317, TH2224 / АВТОМАТИЧЕСКИЙ ВЫКЛЮЧАТЕЛЬБ GV2ME16 TESYS POWER 034317, TH2224 (SCHNEIDER) | GV2ME16
17 | 53 | 50.01.980 | EA | BULB LIGHT , LED FIL C35 CANDLE E14 DIM 4W (35W) 400LM 842 FROSTED | LED FIL C35 Candle E14 DIM 4W (35W) 400lm 842
18 | 60 | 50.02.003 | EA | BREAKER CIRCUIT, TYPE C, 16 AMP, 1 POLE, MCB EMCH 116 | EMCH116 (OLD# MCH116)
19 | 29 | 50.02.004 | EA | BREAKER CURCUIT, TYPE C MCB EMCH 130 (30 ASP) | EMCH132
20 | 3 | 50.02.013 | EA | BLOCK, AUXILIARY CONTACT , SIDE MOUNT | GVAN11
21 | 5 | 50.02.453 | EA | GRIP, CABLE | 02201015
22 | 25 | 50.03.800 | EA | TIE STRAP PLASTIC , CABLE, TY-RAP 3.6'', (100/PK) | TY523MXR

## Lot 7
Line | Qty | ItemCode | Unit | LongName | ItemCode
1 | 4 | 50.03.833 | EA | HEAT SHRINK WITH ADHESIVE 16 MM, 1 EA-1 METER | HTAT-16/4–0-STK
2 | 21 | 50.15.605 | EA | CONTACTOR, 240V, 63A, 3 POLE, MODEL B | DP60C3P-2
3 | 65 | 50.31.040 | EA | BULB LIGHT, PILOT BAYINET EIKO 755/6.3V | 755
4 | 150 | 50.31.100 | EA | VINYLINK, BURNDY RED #22 - #16AWG BUTT SPLICE | 2RA18X
5 | 43 | 50.31.119 | EA | LUG, ONE HOLE , LONG BARREL, #1/0 AWG 3/8#BOLT SIZE, SOLD IN QTY'S OF 10 | TB54109
6 | 74 | 50.31.131 | EA | SPLICE, BUTT , STANDARD BARREL FOR 3/0 AWG | ILSCO CT-3/0
7 | 75 | 50.31.138 | EA | CONNECTOR, SINGLE BARREL , TYPE LAMA `6-250AWG 5/16`"BOLT SIZE | ADR25
8 | 47 | 50.31.151 | EA | PLATE, END, APP PA V.SAK4 /10 CLOSING PL.11796, WEIDMULLER | 1050000000
9 | 48 | 50.31.152 | EA | BRACKET, TERMINAL BLOCK END, NO SUBSTITUTE | 0383560000
10 | 156 | 50.38.701 | EA | PLUG, LEGRAND , FEMALE, 10/16A, 250V, GERMAN STANDARD, 2P+E (OLD #50335) | 050343
11 | 42 | 50.52.145 | PK | TIE STRAP PLASTIC, CABLE, TY-RAP 14,5`(100/PK) | TY5244MX/TY5244MXR
12 | 10 | 50.52.270 | EA | SWITCH | 90681002
13 | 1 | 50.64.302 | KT | CONTACT KIT, DIVERTER SWITCH | 25RT32
14 | 16 | 73.18.189 | EA | CABLE, SHRINK , 3M HEAT REPAIR WRAP SLEEVE, 29.5"750MM SLEEVE 3.15-0.98"600/1000V | HDCW-80/25-750
15 | 5 | 78.18.240 | EA | CONNECTOR, CORD , STRAIN RELIEF | 2584
16 | 5 | 78.18.242 | EA | CONNECTOR, CORD , STRAIN RELIEF | TB-2586
17 | 10 | 78.18.246 | EA | CONNECTOR, CORD , STRAIN RELIEF | TB-2587
18 | 7 | 90.55.540 | EA | LIGHT LED , PORTABLE, GALAXY PRO 3500 LUMENS, RECHARGEABLE BATTERY, IP65 WEATHER PROOFING, WITH MAGNETIC FEET | GALAXY-PRO-6K
19 | 2 | 90.55.625 | EA | CABLE, SPM MEASURING, 8 PIN - 2 PIN, 1.5M SPIRAL | CAB82-1,5
20 | 12 | 99.66.478 | EA | ENCLOSURE, C/W BACK PANEL GPS SYSTEM | # EJ14126
21 | 16 | 50.01.689 | EA | BREAKER, CIRCUIT , 5A/250VAC | 7940125375

## Lot 8
Line | Qty | ItemCode | Unit | LongName | ItemCode
1 | 2 | 50.01.909 | EA | CONTROLLER, TEMPERATURE CONTROL C/W REMOTE BULB | 1687-9
2 | 1 | 50.01.937 | EA | TRANSFORMER, 50 VA PRIMARY 415/380 V SECONDARY 110/220 V 50 - HZ WITH A FUSED SECONDARY | PH50MEMX
3 | 8 | 50.01.946 | EA | TRANSFORMER, 100 VA, PRIMARY 415/380V SECONDARY 110/220 V, H2-50 | PH100MEMX
4 | 156 | 50.02.424 | EA | CONNECTOR, STRAIN RELIEF LIQUID TIGHT 1/2~ HUB CABLE SIZE .375 TO .500 | 2522
5 | 9 | 50.24.544 | EA | FUSE, 600V 60A | A4J60
6 | 8 | 50.31.084 | EA | LAMP, 150 WATT, LU 150/55 V MOGUL BASE 150W HPS ET 23 1/2 | LU150/55/ECO
7 | 66 | 50.31.118 | EA | LUG, ONE HOLE , LONG BARREL, #2 AWG 5/16# BOLT HOLE SIZE | 24C322
8 | 14 | 50.31.140 | EA | CONNECTOR, DUAL BARREL , TYPE LAM2A FOR`14-`2/0 AWG | ADR21-21
9 | 16 | 50.52.100 | EA | BREAKER, 1 AMP TERMINAL STRIP | 9101203500
10 | 24 | 50.52.125 | CS | SLEEVE, CABLE REPAIR HEAT SHRINK WRAPAROUND CABLE DIAMETER RANGE `98` TO 3.15` LENTH 47.3` 3M HDCW SERIES 5EA/CS | HDCW-80/25-1200
11 | 1 | 50.52.612 | EA | PLATE, TOP 2CMA FLEXCO MEGALOY HIGH ABRASION RESISTANT 100 PER BUCKET | 20345
12 | 5 | 73.18.144 | EA | TOOL, TELESCOPING MAGNETIC RETRIEVING | HT-2
13 | 7 | 78.18.256 | EA | BARRIER, END , GREY | 1492EBJ3
14 | 18 | 78.18.262 | EA | ANCHOR, DIN RAIL END | 1492-EAJ35
15 | 25 | 50.01.800 | EA | UNISTRUT, SHALLOW 13/16"X 3 M LENGTH | CLP1S-41-21-30-25
16 | 5 | 50.15.064 | EA | ENCLOSURE, PANEL 6X6X4"ES WATER TITE | EJ664
17 | 18 | 50.52.271 | EA | SWITCH , METAL CLAD WITH WHITE INSERTS, 10AX 1-GANG 2-WAY OEM#33885 | WMC12S
18 | 2 | 50.24.950 | EA | FUSE LINK PPNI-33, SIZE 00, 50A IEK | DPP10-050
19 | 8 | 50.38.747 | EA | WALL MOUNTED RECEPT 63A 5P6H400V.IP67 | 5113A
20 | 170 | 00.02.141 | EA | LAMP LED LAMP IN HOME LED-T8-M-PRO, 40W, 230V, G13, 4000K, 1200M | LED-T8-M-PRO
21 | 2 | 15.00.082 | EA | CONTACTOR ICT - 4 POLES - 4 NO - 40 A - 220..240 V AC - A9C20844 | A9C20844
22 | 150 | 15.01.600 | EA | FAN, WALL, FOR BATHROOM/ TOILET 150 MM | 150M

## Lot 9
Line | Qty | ItemCode | Unit | LongName | ItemCode
1 | 30 | 50.01.960 | EA | LIGHT EXPLOSION-PROOF 220VAC-IP67-EX | АТ-ДСП-11/30
2 | 5 | 50.02.030 | EA | BREAKER, CIRCUIT, 10 AMP, MERLIN GERIN MULTI 9 ,C60N, 230/240V, 1P, C-CURVE (FOR WATER TREATMENT PLANT) | HGD63P
3 | 26 | 50.02.412 | EA | NUT, RIGID LOCK 1 1/4" | 1005
4 | 4 | 50.03.832 | EA | HEAT SHRINK WITH ADHESIVE 12 MM, 1 EA-1 METER
5 | 6 | 50.09.035 | EA | TRANSFORMER CURRENT- 600/5 FOR ELECTRICITY METERING METERING STEAM GENERATORS EKF TTE-60-600 | EKF TTE-60-600
6 | 5 | 50.15.107 | EA | METER THREE-PHASE ELECTRICITY METER (3X1, 5(6)A) FOR ELECTRICITY METERING | DTS 232
7 | 20 | 50.31.061 | EA | LAMP, MINIATURE T-1 3/4 WEDGE BASE 28V | 800M-N17
8 | 27 | 50.31.082 | EA | LAMP, HIGH PRESSURE SODIUM MEDIUM BASE 70 WATTS, 220 V | SYL67504 (OLD# OS67504)
9 | 24 | 50.31.098 | EA | LIGHT, FLOOD, 200W, 230 VOLT 50HZ , LIGHT COLOR:5000K | 224-032834
10 | 6 | 50.31.222 | EA | LAMP UV (AMALGAM) FOR INSTALLATION LAZUR M-30K | Р-19245L SvE
11 | 40 | 50.31.226 | EA | LAMP 60*60 CENTIMETERS FOR SUSPENDED CEILING 120-240V 60 WATTS, 6500 K | 7541-016
12 | 36 | 50.31.227 | EA | LAMP 60X60 CM OUTDOOR 120-240V 60 WATTS, 6500 K | LAMP 60X60 CM OUTDOOR ВАТТ, 6500 К
13 | 24 | 50.31.228 | EA | LIGHT ROUND OUTDOOR 120-240V 18 WATT, 6500K | LIGHT ROUND OUTDOOR 18 WATT
14 | 24 | 50.31.229 | EA | LIGHT ROUND OUTDOOR 120-240V 24 WATT, 6500K | LIGHT ROUND OUTDOOR 24 WATT
15 | 40 | 50.31.230 | EA | LAMP PANEL LONG 120 CM 50.02.620 120-240V 40 WATT, 6500 K | LAMP PANEL
16 | 12 | 50.38.704 | EA | END, FEMALE NEMA 5-15R, 15A,125V | HBL1547
17 | 10 | 50.38.741 | EA | PLUG POWER TOPXTRA63A5P6H400V IP67 | 13212
18 | 40 | 50.52.366 | EA | PLUG ELECTRIC SIDE VIKO, WHITE OFFICE NO 250 V, 16A, WHITE | PLUG ELECTRIC SIDE
19 | 1 | 50.52.342 | EA | MECHANISM, MOULDED CASE CIRCUIT BREAKER (250A), FOR 400V MCC OEM# NXM-125H/3300(250A) | NXM-125H/3300(250A)
20 | 141 | 50.02.418 | EA | CONNECTOR, TECK 3C#14 CABLE | ST050-464
21 | 1 | 50.38.212 | EA | MOTOR, ELECTRIC 5 HP BALDOR SPEC. 36A01W383 5 HP, 3 PHASE, 380 VAC, 50 HZ,184T FRAME INS. CL. F, S.F. 1.15, 1500 RPM (4 POLE) TEFC EM3615T-57 100 F048/2324 | EM3615T-57

## Lot 10
Line | Qty | ItemCode | Unit | LongName | ItemCode
1 | 24 | 50.52.101 | EA | BREAKER, 15 AMP TERMINAL STRIP | 9102003500
2 | 5 | 73.18.202 | EA | BLOCK, CONTACT | ZBE101
3 | 16 | 50.01.780 | EA | RELAY, 24 VDC 11 PIN | MKS3PIN5DC24
4 | 10 | 50.02.410 | EA | NUT, RIGID LOCK 3/4" | 52AU45
5 | 16 | 50.15.607 | EA | FUSE, 70A, A4J70 | A4J70
6 | 10 | 50.24.533 | EA | FUSE, LIMITRON KTK-1 600V | 4ZCH8
7 | 65 | 50.31.121 | EA | LUG, ONE HOLE , LONG BARREL, #2/0 AWG 3/8" BOLT SIZE | 54910BE
8 | 42 | 50.31.125 | EA | LUG, ONE HOLE , LONG BARREL, `6 AWG 1/4" BOLTHOLE SIZE, SOLD IN QTY'S OF 50 | 54905BE
9 | 15 | 50.31.148 | EA | SPLICE, BUTT , STANDARD BARREL FOR 250 MCM | 54513
10 | 13 | 50.31.156 | PK | FERRULE, BOOT LACE , 18 AWG X 8MM ( PIN LENGTH) NEW 1PK=100EA | 797V01
11 | 13 | 78.18.243 | EA | CONNECTOR, CORD , STRAIN RELIEF | SHC1042
12 | 8 | 78.18.258 | EA | PLATES, PARTITION | 1492-EBJ16
13 | 3 | 78.18.270 | PK | TIE STRAP PLASTIC , CABLE, TY-RAP 12"(1000/PK) | TY253M
14 | 73 | 50.31.129 | EA | SPLICE, BUTT , STANDARD BARREL FOR 1/0 AWG | THOMAS BETTS 54509
15 | 10 | 78.18.271 | PK | TIE STRAP PLASTIC , CABLE, TY-RAP 15`, (1000/PK) | SG370S-MO
16 | 2 | 48.07.033 | EA | DISPLAY, HIGH VOLTAGE CHARGED DISPLAY INDICATOR DEVICE OEM#DXN8B-Q FOR WUXI LEES GENERATOR 6.3KV MV1-MV4 CABINETS | OEM#DXN8B-Q
17 | 15 | 50.02.633 | EA | LIGHT, 500W HIGH BAY , TEKLED, 85-295VAC, AC85-277V, 50-60HZ, COLOR TEMPERATURE: 6000-6500K | TEK-IL-H500W
18 | 28 | 50.02.634 | EA | PACK, 120W WALL LIGHT, TEKLED, 85-295VAC, AC85-277V, 50-60HZ, COLOR TEMPERATURE: 6000-6500K | TEK-WP-120W
19 | 3 | 48.05.014 | EA | CONTROL UNIT, АД250(ПСМ) #CGC-413 | CGC-413
20 | 600 | 50.01.984 | MT | CABLE, PVS, 3 C/1,5MM | ПВС 3*1,5MM
21 | 37 | 50.02.008 | EA | BREAKER, 32A, 3P OEM#EMCH332 | FAZ-C30/3
22 | 1 | 73.18.242 | EA | INVERTER, 2000W 24VDC INPUT 240 VAC OUTPUT OEM#CJ-2000Q | CJ-2000Q